## Slide 1: SafeStep
An Automatic Hazards Detection Blind Cane
Kevin Bui, Mohamad Charabi, Nathan Pervin, Mikita Piatsevich
Advisor: Dr. Joseph Picone
Instructor: Dr. Brian Thomson

## Slide 2: Blindness and vision impairment are increasing globally, increasing reliance on mobility aids.
Source:
https://www.sciencedirect.com/science/article/pii/S2214109X20304253

## Slide 3: Automatic Hazards Detection Can Prevent User Injuries
Source: https://www.researchgate.net/figure/Schematics-of-A-an-individual-with-the-white-cane-facing-daily-life-obstacles-the-cane_fig1_350820013
Blind canes can’t detect all hazards.
Source: https://youtu.be/S0n9UQ9eNrs?si=bu-2d58Qq2Apc4Jm
As a result, collisions and falls can occur.
Notes: EDIT 1

## Slide 4: Fall and Injury Rates Among the Visually Impaired
76 people with visual impairment were studied over a 12-month period
74% reported at least 1 fall or injury event
63% of falls resulted in an injury
Our project aims to mitigate the trips and misplaced steps that are causes of falls.

## Slide 5: Proposed Solution: SafeStep, a smart blind cane
Vibration Warning
Ultrasonic Sensor
Camera

## Slide 6: Proposed Solution: Ultrasonic Sensor
Ultrasonic sensor detects obstacles in walking path
Vibration Alerts User

## Slide 7: Proposed Solution: Machine Learning
Camera Captures Image of Walking Path
Machine Learning Model Identifies Hazard
Vibration Alerts User
Hazard: Stairs

## Slide 8: Proposed Solution: Power System
Both sources are designed to provide regulated 5V required for Raspberry Pi operation
5V 3.7V
5V
5V regulated output (direct supply)
3.7V battery boosted to 5V

## Slide 9: Proposed solution: Vibration motor

## Slide 10: Design Requirements (Power System)

## Slide 11: System Integration
Power
Raspberry Pi Zero 2 W Computer
Raspberry Pi AI Camera
Data
Ultrasonic Sensor
Vibration Motor
Battery
Live Camera Feed
1080p Images
Distance Measurement (cm)
5V
5V
3.3V
5V
ON/OFF

## Slide 12: Design Requirements
Constraint
Detection
Distance
False Positive Rate
Target Value
Time
Distance
Percentage
Metric
< 220 ms
Why?
6 ft
< 1%
Fast enough
For human response
Allows early
hazard detection
Prevents false alerts
Hazard
Detection Latency

## Slide 13: Design Constraints
Constraint
Handle Diameter
Handle Length
Portability
Target Value
Physical Dimension
Physical Dimension
Operation
Metric
2.5 cm
Why?
20 cm
Cane is foldable
Provides a comfortable grip
Improves control over cane
Easy to store and carry

## Slide 14: Engineering Design and Progress
Data Collection:
5729 total images
2650 normal
1641 stairs
1438 curbs
3D Model of handle segment with component mounting points
SolidWorks was chosen for its accessibility to Temple Students and its extensive documentation.

## Slide 15: Engineering Design and Progress

## Slide 16: Engineering Design and Progress
The most optimal placement of the ultrasonic sensor will be at a 45-degree angle for the best view.
Programmed in Vs Code
Using Python.

## Slide 17: Testing Setup and Results
3D Print Testing
Components Mounted
3D Model

## Slide 18: Testing Setup and Results

## Slide 19: Testing Setup and Results
Solder Wires
Wired up
Testing Range

## Slide 20: Testing Setup and Results

## Slide 21: Future Work
Standards
ISO 9999 code 12 39 03
Tactile sticks or white canes:
Cane dimensions, used for design constraints
Increase training data set by collecting more images.
Complete 3D model and prints of the protective component enclosure.
Test the ultrasonic sensor while it is integrated with the system.
Write system-wide code
to integrate all inputs and vibration motor output

## Slide 22: Questions?

## Slide 23: Design Requirements
Hazard
Detection Latency
Detection
Distance
False Positive
Rate
Target: < 220 ms
Metric: Distance
Why? Fast enough
For human reaction
Metric: Time
Target: 6ft
Why: Allows early
hazard detection
Metric: Accuracy
Target: <1%
Why: Prevents false alerts

## Slide 24
https://www.researchgate.net/figure/Up-left-and-down-right-stairs-detected-with-the-electronic-white-cane_fig5_51873006