Improved Segmentation for Automated Seizure Detection
using Channel-Dependent Posteriors

A Dissertation Proposal

Submitted to

the Temple University Graduate Board

In Partial Fulfillment
of the Requirements for the Degree
DOCTOR OF PHILOSOPHY

by

Vinit Shah

December 2020

Examining Committee Members:

Dr. Joseph Picone, Advisory Chair, Department of Electrical and Computer Engineering,

Dr. Iyad Obeid, Department of Electrical and Computer Engineering

Dr. Yimin Zhang, Department of Electrical and Computer Engineering

Dr. Pallavi Chitturi, Department of Statistics

Dr. Mercedes Jacobson, Department of Neurology

Dr. Yaroslav Koshka, External Reader, Mississippi State University

©

Copyright

2020

By

Vinit Shah

------------------------

All Rights Reserved

# ABSTRACT

Improved Segmentation for Automated Seizure Detection
using Channel-Dependent Posteriors

Vinit Shah

PhD Proposal

Temple University, December 2020

Advisor: Dr. Joseph Picone

The Electroencephalogram (EEG) is the primary tool used for the diagnosis of a variety of neural pathologies such as epilepsy. Identification of a critical event, such as an epileptic seizure, is difficult because the signals are corrupted by noise due to the way they are transduced. Also, because EEGs are collected by measuring extremely low voltages, signals often contain artifacts due to patient movement. Additionally, factors such as slowly evolving morphologies make accurate marking of the onset and offset of a seizure event difficult. Precise segmentation, defined as the ability to detect start and stop times within a fraction of a second, is a challenging research problem. State-of-the-art commercial systems perform poorly on this task. In addition to generating precise segmentations, a real-time seizure detection algorithm is also expected to execute with minimal latency if it is to be useful in clinical applications. In this study, we improve seizure segmentation performance by mimicking the human interpretation process.

To identify a seizure event, experts explicitly look for the evolution of sharply contoured epileptiform features such as polyspikes, spike and wave discharges/complexes. However, evolution of such features below 3 Hz in frequency and with a duration exceeding 10 secs creates a significant amount of ambiguity. In such cases, decision-making requires additional factors be considered such as an EEG record’s clinical correlates, history of the patient and background signals. Incorporating the history of the waveform shapes and previously detected events aids understanding of the background morphologies. Moreover, seizure events can last from three seconds to several days in duration and can vary significantly both in morphology and between patients. For this study, we only include records which are at most one hour long.

The central thesis of this is work is that separation of the seizure detection problem into a two-phase problem – epileptiform activity detection followed by seizure detection – should improve our ability to detect and localize seizure events. We use linear frequency cepstral coefficients (LFCC) and their derived features, such as temporal derivatives, in both phases of the model. In the first phase, we use a sequential neural network algorithm known as a long short-term memory (LSTM) network to identify channel-specific epileptiform discharges associated with seizures. In the second phase, the LFCC-based feature vector is augmented with posteriors that represent the onset and offset of ictal activities. This augmented vector is applied to a multichannel convolutional neural network (CNN) followed by an LSTM network.

This second phase network is designed such that the number of input channels of the CNN is equal to the dimensionality of a feature vector. During the first layer, the CNN kernels of each channel are optimized separately which means the network optimization is done on each dimension of the feature vector independently. We observe that the kernel outputs, known as feature maps, show boundaries clustered together for easily detected seizures and dispersed for the subtle seizures. Once the feature maps of the first layer are created, the feature dimensions are no longer independent, which forces the remaining layers of the model to compete for localization of the seizure boundary. We aggregate the output of both phases of the model and perform additional postprocessing to achieve high performance for seizure detection.

The multiphase model was evaluated on a blind evaluation set and was shown to detect 106 segment boundaries within a 2-second margin of error. Our previous best system, which delivers state-of-the-art performance on this task, correctly detected only 9 segment boundaries. Our multiphase system was also shown to be robust by performing well on two blind evaluation sets. Seizure detection performance on the TU Seizure Detection (TUSZ) Corpus development set is 40.29% sensitivity with 5.77 FAs/24 hours. Performance on the corresponding evaluation set is 42.96% sensitivity with 11.45 FAs/24 hours. Performance on a previously unseen corpus, the Duke University Seizure (DUSZ) Corpus is 43.75% sensitivity with 9.33 FAs/24 hours. Our previous best system yields 30.83% sensitivity with 6.74 FAs/24 hours on the TUSZ development set, 33.11% sensitivity with 19.89 FAs/24 hours on the TUSZ evaluation set and 33.71% sensitivity with 40.4 FAs/24 hours on DUSZ.

The remaining research work will focus on several incremental improvements to this system. By projecting feature maps of the CNN kernels, we have shown that kernels associated with the posterior-derived features are able to learn the history of previously detected seizures. However, the importance of such features remains unknown. We will implement a permutation feature importance algorithm which will allow us to prioritize and learn the dependencies between the features through this process.

Our multiphase model is able to detect ~250 segment boundaries within a five-second margin of error. There is the potential to fine tune these segments by introducing an additional postprocessing step. We will use a 10-second context window around the detected boundaries and develop a rudimentary energy detector model and use a small LSTM model to find the seizure boundary. The energy detector will serve as a baseline which simply calculates the energy of the signal each second and finds optimal boundary based on a maximum likelihood detector to maximize the energy difference between window’s left and the right context.

Our multiphase model uses a fixed duration sliding window approach. This technique prevents the model from learning the evolution of EEG events which could vastly vary in duration. For example, a phase 2 model which operates on 11-second windows cannot learn a complete evolution of a 300-second long seizure. This can negatively impact our ability to detect longer seizures especially when they are slowly evolving. We will implement an off-line seizure detection algorithm which can be trained on the entire seizure segment regardless of its duration. This is expected to reduce the false alarm rate.

Finally, we will analyze the model’s deficiencies on specific types of patients and investigate if there are any common underlying electrographic patterns and/or pathological reasons that explain poor segmentation performance.

Improving seizure detection performance through better segmentation is an important step forward in making automated seizure detection systems clinically acceptable. The primary failure modality for these systems is segmentation. For a real-time system, accurate segmentation will allow clinicians detect a seizure as soon as it appears in the EEG signal. This will allow neurologists to take action during the early stages of the event which, in many cases, is essential to avoid permanent damage to the brain. In a similar way, accurate offset detection will help with delivery of therapies designed to mitigate postictal (after seizure) period symptoms. This will also help reveal the severity of a seizure and as a consequence, provide guidance for medicating a patient.

# Dedication

Dedication goes here…

# ACKNOWLEDGMENTS

Acknowledgements go here…

# Table of Contents

- ABSTRACT 		iii

- Dedication 		viii

- ACKNOWLEDGMENTS		ix

- INTRODUCTION 		1

  - Recent Advances in Automated Seizure Detection 		2

  - Recent Advances in Automatic Segmentation Algorithms 		4

  - Research Plans and Contributions 		8

  - Proposal Outline 		9

- THE ELECTROENCEPHALOGRAM 		13

  - The Electroencephalogram’s Role in Neurology 		13

  - Normal and Abnormal EEGs 		15

  - The TCP Montage and 10/20 Electrode Placement 		18

- THE CHALLENGES OF EEG INTERPRETATION 		20

  - Contemporary Visualization Tools 		23

    - Ictal Epileptiform Features 		26

    - Periodic Discharges 		27

    - Slowing 		27

    - Artifacts 		28

  - ACNS Standards for Seizure Identification 		28

  - Ictal Discharges and EEG Gray Zone Events 		29

  - Interrater Agreement Among Experts 		31

- NEURAL NETWORK MODELS 		33

  - Relevant Neural Network Architectures 		34

    - The Multilayer Perceptron 		35

    - Convolutional Neural Networks 		37

    - Long Short-Term Memory Networks 		40

  - Features 		42

  - A Multiphase Recognition System 		44

    - Data Flow Considerations 		46

    - Channel-based Long Short-Term Memory Networks 		48

    - Feature Augmentation 		50

    - A CNN-LSTM Network 		53

  - Network Optimization 		57

  - Postprocessing Steps 		59

- EVALUATION METRICS 		61

  - Fundamental Scores and Derived Measures 		62

  - Evaluation Metrics 		62

    - NIST Actual Term Weighted Value (ATWV) 		64

    - Dynamic Programming Alignment (DPALIGN) 		66

    - Epoch-Based Sampling (EPOCH) 		68

    - Any-Overlap Method (OVLP) 		69

    - Time-Aligned Event Scoring (TAES) 		70

  - A Comparison of Metrics 		71

- EXPERIMENTAL RESULTS 		76

  - Database 		76

  - Performance Assessment using Objective Evaluation Metrics 		77

  - Receiver Operating Characteristic (ROC) Analysis 		79

  - Segmentation Analysis 		83

  - Causes of Poor Segmentation 		90

  - Seizure Boundary Detections Within Segment Guard Bands 		92

  - Analysis of the P2 Kernels Associated with the History Features 		93

- FUTURE PLANS 		100

  - Remaining Research Tasks 		100

  - Outline of Future Plans 		102

  - Publications 		104

    - Work Published or Accepted for Publication 		104

    - Publications Under Development 		105

REFERENCES 		107

# LIST OF TABLES

- Normal brain rhythms 		14

- Performance of machine learning architectures according to derived metrics 		74

- TUSZ v1.2.1 statistics 		76

- A comparison of performance on the TUSZ dev set 		77

- Performance on the TUSZ blind evaluation set 		78

- Performance on the DUSZ blind evaluation set 		78

- Sensitivity of the baseline model as a function of event duration 		92

- Sensitivity of the P2 model 		92

# LIST OF FIGURES

- An industry-standard 10-20 electrode placement with a temporal central parasagittal montage 		15

- A decision tree that depicts the process used to identify an abnormal EEG 		17

- 3-4 Hz spike and slow wave complexes (absence discharges) 		18

- Secondary generalized seizure 		22

- A typical seizure event: after onset (top) and near offset (bottom) 		24

- A spectrogram of a clean seizure 		25

- qEEG analysis tools used for identifying seizures 		25

- The ictal-interictal continuum (IIC) frequency range for periodic discharges 		30

- A continuum of events related to neuronal injury 		31

- Diagram of a multilayer perceptron network 		35

- CNN network topology (Jordan, 2017) 		37

- An example of feature maps generated by CNN kernels (Lee et al., 2009) 		38

- A typical recurrent neural networ		40

- Architecture of an LSTM cell (Hochreiter & Schmidhuber, 1997) 		41

- The proposed multiphase model 		45

- A channel-based long short-term memory network architecture		49

- Feature augmentation using the P1 posteriors		53

- A CNN-LSTM network architecture		54

- The learning rate schedule		58

- Postprocessing steps		59

- ATWV scores this segment as 1 TP and 5 FPs.65

- ATWV scores this segment as 0 TP and 3 FN events. 		65

- DPALIGN aligns symbol sequences based on edit distance, ignoring the actual time alignments present in the reference annotation and the system output		67

- EPOCH scoring directly measures the similarity of the time-aligned annotations. TP, FN and FP are 5, 2 and 1 respectively. 		68

- OVLP scoring is very permissive about the degree of overlap between the reference and hypothesis. The TP score for Example 1 is 1 with no false alarms. In Example 2, the system detects 2 out of 3 seizure events, so the TP and FN scores are 2 and 1 respectively. 		70

- TAES. scoring accounts for the amount of overlap between the reference and hypothesis. TAES scores Example 1 as 0.71 TP, 0.29 FN and 0.14 FP. Example 2 is scored as 1 TP, 1 FN and 1 FP. 		72

- An example that summarizes the differences between scoring metrics		72

- ROC curves on the TUSZ dev set		80

- ROC curves on the TUSZ eval set 		80

- ROC curves on the DUSZ Corpus 		81

- ROC curves on the TUSZ dev set using the TAES metric		82

- ROC curves on the TUSZ eval set using the TAES metric		82

- ROC curves on the DUSZ eval set using the TAES metric		83

- Baseline model segmentation for the TUSZ dev set is shown. Over-detection is shown on the left while under-detection is shown on the right. Onset boundary behavior is shown in red while offset boundary behavior is shown in green. 		84

- Baseline model segmentation for the TUSZ eval set		86

- Baseline model segmentation for DUSZ set		87

- P2 model segmentation for the TUSZ dev set		88

- P2 model segmentation for the TUSZ eval set		89

- P2 model segmentation for the DUSZ eval set		90

- Event detections within the guard bands of the reference annotation boundaries		94

- Layer-1 CNN kernels for recurring seizures (during the event) 		96

- Layer-1 CNN kernels for recurring seizures (between the event) 		97

- Layer-1 CNN kernels for subtle seizures		99

- Dissertation completion plan 		103

INTRODUCTION

Histopathology, the study of the stained tissue slides for diagnosing diseases, is one of the primary means for detecting cancer. Cancer is one of the leading causes of death around the world. In 2019, World Health Organization (WHO) ranked cancer as one of the main reasons of reduced life expectancy all over the world (206 countries). In 2020, 9.9 million deaths due to cancer and 19.3 million new cases were reported. Among males, lung and prostate cancer were the most common type of cancer while breast and colorectum were the most common among females in 2020. Many of the cancer cases are treatable if they are caught in an early stage. However, manual investigation of the slides is tedious and expensive which many developing and underdeveloped communities cannot afford. The current development in computing infrastructure and automatic analysis with deep learning can assist the pathologists in detecting cancer biomarkers early.

Whole Slide Imaging technology, also known as virtual microscopy, is relatively novel technology(references). Scanning a stained tissue on a glass slide using a specialized scanner in multiple resolutions is the essence of this technology. The digital version of a glass slide offers various advantages over the physical slide and opens up numerous new possibilities for both pathologists and researchers. The physical slides are prone to decay over time which makes keeping proper references for decision difficult. Again, multiple experts cannot provide their insights on a case because the glass slides are difficult to transport. Annotating and grading these slides are an expensive and tedious task due to the cost and time required to train an expert pathologist. However, disagreements among the experts rise occasionally which adds more difficulty to an already time-consuming task (He 2012). The digital slides provide several advantages as the copies of a slide can be shared among the experts easily via internet regardless of their physical location. The slides provide the ease of zooming in on computer monitors and examine the tissue slides closely. The saved slides can also be treated as images on which researchers can apply automatic analysis techniques.

The field of medical image analysis have been employing machine learning for various tasks, such as segmentation, detection, and diagnosis, since the late 1990s. These supervised techniques depended on handcrafted feature vectors for training models like statistical classifiers. Although various deep learning algorithms that are now recognized as state-of-the-art for various tasks were already under development since the ‘70s, due to lack of sufficient computing power, those models did not attract attention from any computer vision fields until 2012. AlexNet, a convolutional neural network model, won the ImageNet competition with a significant improvement over the previous models (ref). Since then, the field of computer vision went through rapid changes and now current state-of-the-art deep learning models have acquired more accuracy in the ImageNet challenge than humans (ref). Medical imaging researchers also became interested in these algorithms for automatic diagnosis and segmentation tasks (S´anchez 2017) <add some more review papers on MRI CT>.

## An Overview of Digital Pathology and Whole Slide Imaging

The field of digital pathology emerged with digital microscopy where multiple cameras were mounted with conventional microscope to capture partial images of the tissue. They could capture both static images and transmit live images to an external device. However, these images were limited in capturing a fraction of the tissue (Hanna, 2020). In 1999, Wetzel and Gilbertson proposed the concept of the whole slide image (WSI) technology for digitizing a full tissue slide using a specialized scanner. The digitization method involves four steps that include scanning or image acquisition, storing, editing, and displaying the slide images (Farahani,  Zarella). The pathology community is continuing to embrace digitized slides as those can be easily viewed, navigated, and annotated on monitors with special viewer software (Whole Slide Imaging: Applications, book chapter 3, mohanty). In 2017, United States’ Food and Drug Administration (FDA) approved WSI (Philips IntelliSite Pathology Solution™) as a primary diagnosis tool as the WSI proved to non-inferior compared to glass slides on the aspects of “diagnostic concordance” and “the reproducibility of repeated scanning” (Neeta Kumar 2020).

Whole slide images offer several advantages over traditional glass slides. The access and storage of digital version of histology slides are easier compared to glass slides. The glass slides are often stored offsite and can decay over time. Both of these facts stand as obstacles for pathologists to refer to those slides when needed as reference. Whole slide scanners (WSS) store image in ultra-high resolution with multiple levels which is commonly referred to as z-stack. These slides can be huge in size (80000×200000 pixels) taking up gigabytes of memory per one slide. As the sophisticated storage systems and file servers are being developed, it has become easier to share and refer to digital slides for decision making.

Since WSIs are easier to share and display, these slides serve education purposes as well. Several organization including College of American Pathologists and the Royal College of Pathologists have supported the use of digital pathology for training, teaching, and research. Evans et al (2020) reported a case of distance learning where pathologists from Toronto taught 15 trainees at University of West Indies using digital slides during the height of Covid-19 pandemic. They used virtual tools for video conferencing and slide sharing technology. Both teachers and trainees appreciated the advantages of WSI for distant learning.

Although pathologists prefer glass slides for diagnosing diseases like cancer, yet WSI can be used as an effective tool for diagnosing diseases. Covid-19 outbreak affected Italy more severely than other countries in early 2020 and the country came to a hold due to social distancing. Liscia et al. (2020) from Biella hospital reported their methodology to overcome the commuting issues, fewer of number of pathologists at work due to social distancing, and the lack of access to glass slides using WSIs. The availability of a web-based digital pathology system (DPS) assisted them in remote diagnosis during the lockdown. Out of 693 cases, they were able to sign out 58.4% cases only using WSI.

To promote the archival and sharing digitized slides, several services are currently available. Biolucida Viewer is a cloud-based slide viewing software that provide access to 3300 slides from 15 institutions. Again, The Cancer Genome Atlas (TCGA) provides several thousand slides for a variety of cancer diseases. Pathology AI Platform (PAIP) is another project that gives access to 2657 slides for six types of cancer.

## Recent Advances in WSI Analysis with Deep Learning

One of the most desirable features of WSI is that it is a rich source of data for developing automatic quantitative analysis tools (Lee 2021). Pathologists often disagree while diagnosing a patient and their decisions are often subjective which is highly dependent on the experience (Hanna 2020, Jiminex Del Toro 2017). Current advances in artificial intelligence and deep learning have opened numerous possibilities which can exploit the digital slides for automatic diagnosis to assist the pathologists with objective quantification (Echle 2021). Deep learning has gained tremendous amount of traction since the beginning of last decade due to the availability of high-speed computing units such as graphical user interfaces (GPUs). These techniques are capable of recognizing hidden biomarker to aide in tasks such as detection, grading, staging, and finding subtypes of tumors etc.

Digital pathology community are also being benefitted as various computer vision algorithms can be applied for automatic classification, segmentation, and detection on the digital slides. These automatic analysis tools can be incorporated into pathology workflow for objective analysis. Deep learning models composed of Convolutional Neural Networks, ConvNets or CNNs, are one of most effective techniques for image analysis task. These models with recently developed techniques, such as transfer learning, residual connections, attention mechanism, and self-supervised learning, have revolutionized the field of computer vision. Many of these models are the mainstay of analyzing the digital slides.

Since deep learning is a data driven technology, it requires extensive amount of annotated data for learning the hierarchical representations for efficient performance. In the last few years, various institutions and organizations coordinated data challenges with annotated digital slides to encourage the deep learning community to invest effort in analyzing them. Mitosis detection contest in ICPR 2012, CAMELYON16 for breast cancer metastasis detection, and CAMELYON17 for lymph node classification are few competitions with digital slides where various research team developed techniques for analyzing giga-pixel images. CAMELYON16 contained 400 slides where the winning team used a GoogLeNet to obtain free-response receiver operating characteristic (FROC) score in lesion based analysis and an area under the ROC curve (AUC) score of 0.994 in slide level analysis. The CAMELYON17 challenged the participants to develop patient-level analysis using 1399 slides and several artificial patients. The winning team used a ResNet-101 to achieve 0.8993 quadratic weighted kappa score.

## Research Plans and Contributions

In this dissertation, we mimic the human interpretation process and address the problem of seizure segmentation by dividing the problem into a two-phase problem – epileptiform activity detection followed by seizure detection. We use linear frequency cepstral coefficients (LFCC) and their derived features, such as temporal derivatives, in both phases of the model. In the first phase, we use a sequential neural network algorithm known as a long short-term memory (LSTM) network to identify channel-specific epileptiform discharges associated with seizures. In the second phase, the LFCC-based feature vectors are augmented with the first phase’s posteriors which represent the onset and offset of ictal activities. We use a multichannel convolutional neural network (CNN) followed by an LSTM network in the second phase of the model.

This second phase network is designed such that the number of input channels of the CNN is equal to the dimensionality of a feature vector. During the first layer, the CNN kernels of each channel are optimized separately which means the network optimization is done on each dimension of the feature vector independently. We observe that the kernel outputs, known as feature maps, show boundaries clustered together for easily detected seizures and dispersed for the subtle seizures. The feature maps created in the first layer are correlated, which forces the remaining layers of the model to compete for localization of a seizure boundary. We aggregate the output of both phases of the model and perform additional postprocessing to achieve high performance for seizure detection.

The remaining part of the dissertation will be focused on understanding the benefits of the proposed model for the segmentation process and the impact this model has on seizure detection performance. There are four major tasks to be completed:

Task 1:	Analysis of the convolutional neural network kernels assigned for the augmented feature vectors.

Task 2:	Fine tune the segmentation boundaries using traditional energy-based detectors and novel neural network algorithms. Compare and contrast algorithms and their pros and cons.

Task 3:	Implement an offline seizure detection algorithm to perform classification on detected seizure segments to reduce the false alarm rate.

Task 4:	Investigate the underlying reasons about why the algorithm works well on specific seizures and fails on others. This will include correlating performance with the duration of the event and the type of seizure. Error analysis on specific sets of patients should reveal the underlying pathologies that result in degraded performance.

## Proposal Outline

The remainder of this proposal is organized into seven chapters. In Chapter 2, we discuss the basics of the EEG signal and introduce key concepts such as a montage. We review relevant standard terminology used by neurologists to analyze an EEG signal. This chapter will give us a brief understanding of the difference between a normal and abnormal EEG signal. We will apply this knowledge to characterize the segmentation problem discussed in the following chapters.

In Chapter 3, we will discuss a few standard EEG interpretation guidelines, our annotation process and discuss what makes the EEG interpretation process difficult. We will discuss the primary epileptiform features that are observed in epileptic patients. We review the types of artifacts that make annotation of a seizure event challenging. We discuss the gray zone areas during ictal-interictal continuum (IIC) where the identification of segment boundaries of the epileptiform and seizure events become very difficult. This chapter provides a detailed understanding of the challenges in identifying seizure events and explains why IRA among experts on such epileptiform events is typically low.

In Chapter 4, we provide a mathematical background of the algorithms used for seizure detection. We discuss the motivations behind the proposed multiphase system and the feature augmentation process. In the first phase of the model, we detect the epileptiform activities associated with the seizures which is followed by a seizure detection model in the second phase. The second phase of the model incorporates first phase’s detections as additional feature vectors. The first phase model’s hypotheses and LFCC feature vectors used in the multiphase model fine tunes the seizure segment boundaries. The motivation behind the design of first and second phase models are discussed in detail.

In Chapter 5, we will discuss the deficiencies of traditional scoring metrics. The rationale behind our preferred choices for metrics and the drawbacks of these metrics are discussed. We demonstrate the analysis and insight that can be obtained when the proper metric is chosen. We introduce a new metric, Time-aligned Event Scoring (TAES), which generates fractional scores that are proportional to the amount of overlap between the reference and hypothesis events. Such a metric is more appropriate for evaluating the segmentation performance of a system since it accurately measures partially detected events. We provide examples for each metric and end this chapter with an example showing how combining multiple scoring metrics gives insight into the performance of a system. Using these metrics, the behavior of a sequential pattern recognition system can be understood without the need for a manual error analysis step. This allows the system to be automatically tuned to optimize this objective metric.

In Chapter 6, we compare the results of the proposed approach with a previously developed state-of-the-art seizure detection system on three separate databases. We compare the segmentation performance of the two best performing systems and show that our proposed approach gives promising results in terms of accurately detecting segmentation boundaries.

Finally, in Chapter 7, we present our conclusions and describe the remaining research to be completed in this dissertation. A timeline and publication plan are presented.

The impact of this dissertation will be a better understanding of the importance of incorporating EEG history features in an augmented feature vector. We will analyze the importance of processing each type of feature independently in the earlier stages of the neural networks. We will visualize the kernels of the networks to observe what is being learned by the model on per-channel basis.

Improved seizure detection performance and accurate segmentation will allow clinicians to detect seizures in real time. This will allow neurologists to take action during the early stages of the event. This is essential to avoid permanent damage to the brain. In a similar way, accurate offset detection will help with the delivery of therapies designed to mitigate postictal (after seizure) period symptoms. This will also help reveal the severity of a seizure and as a consequence, provide guidance for medicating a patient.

THE ELECTROENCEPHALOGRAM

This chapter provides an introduction to the science of electroencephalograms (EEGs). We briefly discuss scalp EEG electrode placement methods and the type of signal preprocessing that is commonly performed. We discuss ways to better visualize and interpret EEG signals via differencing these electrode signals. This is followed by a discussion on how identification and annotation of specific EEG events is performed.

## The Electroencephalogram’s Role in Neurology

The EEG is a primary tool for capturing brain’s electrical activity. Over the years, new technologies such as fMRI (Szaflarski et al., 2017) and MEG (Liu et al., 2000) have emerged for capturing neural functioning but the EEG still remains the primary technique for diagnosis due to its cost-effectiveness and convenience. Non-invasive scalp EEG recording methods are the preferred way for collecting data in clinical settings. The most common use of an EEG is in the diagnosis of epilepsy. This disease affects approximately 40 million individuals worldwide (Wyllie, 2015). Epilepsy patients are under the constant threat of experiencing an epileptic seizure. This is a life-changing diagnosis because it affects the quality of life of a patient (e.g., loss of driving privileges).

In recent years, long-term and continuous EEG (cEEG) monitoring are increasingly being used in hospitals (Kubota et al., 2018). Due to advancements in the EEG technology, these monitoring technologies allow the EEG signal to be recorded for durations ranging from several hours to days. Increasing the number of EEG records that require manual review has significantly increased the workload for the neurophysiologists. The delay between an EEG test and interpretation by a trained healthcare provider has further impacted the ability to provide high quality patient care. The need to reduce the amount of data that needs manual review and the lag between testing and interpretation has created a major market opportunity for automatic seizure

Table 1. Normal brain rhythms

| Rhythm | Frequency (Hz) | Amp. Range (μv) | Activity |
| --- | --- | --- | --- |
| Delta | 0-4 | 20-200 | Deep sleep |
| Theta | 4-7 | 20-100 | Creativity, intuition |
| Alpha | 8-13 | 20-60 | Relaxation |
| Beta | 13-30 | 2-20 | Memory |
| Gamma | 30-100 | 20-70 | Cognition, learning |

detection software in clinical settings (Golmohammadi et al., 2018; Persyst Development Corporation, 2020).

Scalp EEG signals contain information related to cerebral activity within the frequency range of 0.5 to 100 Hz frequency where majority of the information resides below 25 Hz in the spectrum (Shoeb et al, 2011). The frequency content of normal brain rhythms is summarized in Table 1. Electrical signals are measured from an array of electrodes placed around the scalp, as shown in Figure 1. These signals are typically sampled at 250 Hz, a common sample frequency used in clinical settings because it captures all of the significant information about brain activity but is low enough to minimize file storage requirements. These signals have amplitudes in the microvolt range making them extremely susceptible to noise. As a result, these signals are filtered and amplified prior to digitization.

The information captured within 100 Hz is further divided into frequency bands called “EEG rhythms.” EEG rhythms are frequency bands which are separated based on the cognitive and behavioral activities observed from a human brain. To identify specific types of activities, EEG signals are divided into 5 different frequency bands (Tatum et al.,

Figure 1. An industry-standard 10-20 electrode placement with a temporal central parasagittal montage (TCP) overlaid

2014. The frequency ranges of these rhythms with their corresponding nomenclature are: Delta: < 3 Hz, Theta: 3 – 9 Hz, Alpha: 9 – 13 Hz, Beta: 13 – 30 Hz and Gamma: > 30 Hz. These rhythms play an important role in the diagnostic process because each rhythm conveys specific information related to a subject’s mental status and the environmental conditions around it. One of the first steps during the diagnosis process is to identify if an EEG signal depicts a normally functioning brain.

## Normal and Abnormal EEGs

For normal EEGs, each of these rhythms are expected to have specific amplitude ranges and focal regions. For example, an alpha rhythm can range from 50-100 microvolts and can be observed mainly in the occipital region of the brain (the back portion of the brain) or any other region other than the front. Activities within this rhythm are normally observed during eye blinks, when eyes are closed (also known as a posterior dominant rhythm) or during resting conditions (e.g., sleep spindles). A beta rhythm can have an amplitude around 20 microvolts and can be mainly observed in the motor cortex region of the brain during mental or physical activities. Delta and theta rhythms exhibit amplitudes greater than 50 microvolts and can be observed during deep sleep and drowsiness, respectively. The normal amplitude range for these rhythms is within 30-100 microvolts (Krauss & Fisher, 2011). Activities observed below this range can be attributed to various factors such as medication effects or poor data acquisition system. Activity observed above this range can be identified as normal (e.g., drowsiness), abnormal (e.g., rhythmic delta activity) or artifactual (e.g., muscle movements).

Of course, these amplitude and frequency ranges are merely examples of activities associated with the rhythms observed in normal patients. Since scalp EEG electrodes capture multiple frequencies originating from multiple sources, a mix of all these rhythms can be observed everywhere on the scalp, especially if the patient possesses abnormal brain behavior. These activities can be separated into mild abnormalities (e.g., EEG asymmetry between hemispheres, a lack of reactivity) and severe abnormalities (e.g., signals exhibiting epileptiform/ictal features, burst suppression).

There are also exceptions to the definition of an abnormal event. For example, an alpha rhythm can have as much as a 50% asymmetry between hemispheres. Even the complete absence of an alpha rhythm is considered normal behavior among adults (Krauss & Fisher, 2011). A basic decision tree summarizing the diagnostic process used to identify an abnormal EEG is shown in Figure 2. The normal/abnormal EEG event classification problem is discussed in more detail in Lopez de Diego (2017).

Figure 2. A decision tree that depicts the process used to identify an abnormal EEG

It is important to note that the interpretation of EEG signals based on their frequency ranges (rhythms) is done quite differently than other disciplines in signal processing. The focus for EEG interpretation is on the dominant frequencies in the lower part of the spectrum. The frequency content in an EEG rhythm is measured based on the number of cycles per second observed in the waveform – a process often called peak-picking in the signal processing literature. For example, morphologies such as a 3 Hz spike and wave (absence) complex usually shows significant energy in its high frequency components.

The most prominent frequencies in this morphology are ~3 Hz slow wave delta rhythms which complete three cycles per second. Hence, the name “3 Hz” as a prefix regardless of the abundance of much higher frequency components. In Figure 3, examples of 3-4 Hz spike and wave complexes are shown. This can be considered a type of seizure referred to as an “absence seizure” (petit-mal) (Albuja, 2020). From the plot, it can be seen that there are many other sharper activities evolving from the first channel (FP1-F3) and fifth channel (FP2-F4). But each of these small events repeat at a rate of approximately 3 Hz in frequency and hence the term “3-4

Figure 3. 3-4 Hz spike and slow wave complexes (absence discharges) (Albuja, 2020)

Hz spike and slow wave complexes/discharges” is used to describe this type of waveform.

## The TCP Montage and 10/20 Electrode Placement

A scalp EEG recording is most frequently collected using a 10-20 electrode placement in clinical settings (Tatum et al., 2014), as shown in Figure 1. A 10-10 placement is also popular (American Clinical Neurophysiology Society, 2012). Most expert clinicians are trained to interpret signals collected using these two standards. Interpretation is usually preferred to be done on a noise-reduced version of the signal known as a montage (Tatum et al., 2014). In a typical montage, signals are differenced to reduce noise and localize the EEG activities. This aids interpretation process by removing common noise from adjacent or reference electrodes.

There are two types of montages commonly used: unipolar and bipolar. Unipolar montages are created by simply subtracting signals collected from each electrode with only one reference electrode. Bipolar montages, on the other hand, subtracts signals from adjacent electrodes. This aids in localization of an EEG events – determining the location in the brain where the event originated. Identification of such focal regions is done by checking phase reversals between EEG channels. The montages are created in a way that signal subtraction is done in two directions: (1) a longitudinal direction (nasion to inion) and (2) a transverse direction (left to right ear). Both these directions help in identifying specific EEG events. For example, a triphasic wave can be observed from the longitudinal direction since it tends to propagate from the frontal lobe to occipital lobe of the brain. On the other hand, a vertex wave is best seen from the transverse direction because it appears at the midline of the skull from where the transverse montage is created.

Popular montages are discussed in great detail in Ferrell et al. (2020), Lopez et al. (2016), and Gross et al. (2016). For our research, we have always preferred the popular temporal central parasagittal (TCP) bipolar montage. The 10-20 electrode placement system with a TCP montage is shown in Figure 1. There are four segments focused in the longitudinal direction (front to back / vertical line) and one in the transverse direction (red horizontal line).

THE CHALLENGES OF EEG INTERPRETATION

With a growing interest in machine learning approaches to EEG interpretation, the literature has evolved significantly in recent years to the point where standardized literature on the interpretation process and diagnosis is openly available (American Clinical Neurophysiology Society, 2012; American Academy of Neurology, 2020). One of the most difficult aspects of building a machine learning system is understanding the process experts use to interpret the data. With recent interest in computer automated interpretation, the literature describing the manual interpretation process has become much richer.

There are multiple factors that play an important role in making a decision about a diagnosis. In addition to evidence in the EEG signal, clinicians incorporate information such as a patient’s medication history, physiological condition and clinical correlates during a recording session (e.g., a video recording, an EMG signal) (Krauss & Fisher, 2011). See Ferrell et al. (2020) for a more complete discussion of the types of physiological signals collected during a clinical EEG. More recently, fMRI technology has played an important role in pinpointing asymmetry and abnormalities in the brain (Szaflarski et al., 2017; Kesavadas & Thomas, 2008).

In this chapter, we will examine the EEG interpretation process and demonstrate that the interpretation process is quite subjective. EEG interpretation requires extensive clinical training. Board certified neurologists complete a one-year internship and three years of clinical training. During this time, they are required to experience both inpatient (e.g., a hospital) and outpatient (e.g., a clinic) care. These candidates are exposed to patients in intensive care units (ICU), emergency rooms (ER), neuroimaging units (e.g., a department of neurology), child neurology units (e.g., hospitals specializing in pediatric care) and psychiatry (Benbadis, 2014).

Training includes studying EEG signal morphologies observed during subclinical seizures and learning how to integrate clinical correlates and medical histories. Subclinical seizures are observed from the EEG signal, typically visualized using a tool that displays the multichannel signal in 10-sec segments (Capp et al., 2017). Clinical seizures often require observing a patient’s mental state (e.g., consciousness). Typical examples of subclinical seizures are simple partial seizures (conscious state) or a sedated ICU patient showing no outward physical signs of a seizure. On the other hand, patients with generalized tonic-clonic seizures show extreme physical activity. Patients with complex partial seizures show a lack of consciousness. In this study, we only focus on seizures which can be observed from electrographic data (e.g., subclinical seizures).

The two major types of epilepsy that influence the type of seizure are generalized epilepsy and partial (or focal) epilepsy. The localization of an event often determines the difference between these two. Generalized epilepsy can cause tonic-clonic, absence, myoclonic, clonic, tonic, and atonic seizures. Partial epilepsy, on the other hand, can cause simple partial and complex partial seizures. Secondary generalized epilepsy is the combination of these two types where a focal seizure evolves into a generalized seizure or spreads across the lobes. An example of a generalized epileptic seizure can be seen in Figure 3. An example of a partial seizure evolving into a generalized seizure can be seen in Figure 4.

The first question that arises is why is the seizure interpretation task difficult? The following reasons are just a few of the many reasons this is a challenging task:

- In a clinical setting, identification of a seizure event is based on the information collected from the encephalogram as well as clinical sense.

- Seizure morphologies can vary drastically and, in many cases, are specific to the patients.

- The EEG event classification problem is similar to an array processing or video processing problem in which temporal and spatial context plays an important role.

- The signals are extremely noisy due to the low voltage levels of the electrical signals and the presence of artifacts introduced by the ambient recording environment.

Poor interrater agreement among the experts make it harder to set hard rules for

Figure 4. Secondary generalized seizure

establishing standards.

Points 1 and 5 are a challenge to deal with when developing computer-based algorithms. In order to incorporate information collected from clinical reports, video recordings and other environmental settings, sophisticated information processing technologies are required. For example, clinical information about a patient’s medications and medical history is often represented by unstructured text and requires advanced natural language processing (NLP) algorithms to extract (Picone et al., 2018; Chapman et al., 2001). Development of such algorithms requires an abundance of annotated deidentified clinical reports.

On the other hand, there are specific traits which confirm the existence of a seizure or at least ictal discharges. Some of the primary features include:

- Existence of epileptiform discharges such as a train of spike and wave discharges/complexes;

- Periodic or rhythmic discharges from specific frequency ranges (3 Hz to 30 Hz) and durations (> 10 sec);

- Evolution in amplitude and frequency;

- The spatial context based on the EEG event’s locality (such as the frontal or parietal lobes).

The latter point plays an important role in identification or rejection of cerebral or artifactual activities.

Evolution in frequency is defined as at least 2 consecutive changes in the same direction by at least 0.5/s (American Clinical Neurophysiology Society, 2012). Development of any EEG event detection algorithm should incorporate such knowledge. In the following sections, we briefly explore the EEG event interpretation process and discuss important edge conditions that make this a challenge.

## Contemporary Visualization Tools

EEG event classification requires characterization of a variety of events including cerebral activities emanating from the surface of the scalp, biological or mechanical/external artifacts and ambient or electrical noise. For our research, we will explicitly discuss epileptiform ictal discharges and artifacts. The most common events in this category include spike and wave discharges, periodic discharges, biological artifacts and mechanical artifacts (Krauss & Fisher, 2011). The evolution of such events with respect to time can give us an indication of a seizure event.

Figure 5. A typical seizure event: after onset (top) and near offset (bottom)

Typical seizure events are comprised of ictal epileptiform discharges such as spike and wave discharge/complexes, sharp and wave discharges/complexes, generalized polyspikes, hypsarrhythmia, and lateralized/generalized periodic discharges. A seizure is indicated based on such discharges evolving with an increasing rate in amplitude and a decreasing rate in frequency.

Two typical seizure waveforms are shown in Figure 5. The signals are captured at the onset of a seizure (top) and at the offset of a seizure (bottom). Figure 6 shows the spectral properties of a seizure event captured on a subset of channels. The time axis (horizontal) for the spectrogram covers 60 seconds while the frequency scale (vertical) is truncated to 0-30 Hz so that the most meaningful aspects of the seizure event can be observed.

In practice, this information is typically visualized using an approach known as a quantitative EEG (qEEG) (Nuwer, 1997). The qEEG is also known as a trend analysis technique that helps experts rapidly analyze EEG records and localize specific events. Recently there have been multiple studies validating the reliability of qEEG trend analysis methods (Haider et al., 2016; Swisher et al., 2015), and hence, this tool has been rapidly growing in popularity. Tools related to the qEEG include an amplitude integrated EEG (aEEG) (Scheuer et al., 2004), asymmetry index, spectrograms, rhythmicity spectrograms

Figure 6. A spectrogram of a clean seizure

and envelope trends (Hirsch et al., 2010). These tools essentially aggregate information collected from the left and right hemispheres of the brains. Examples of seizures identified using these tools are shown in Figure 7. These examples came from a study conducted by Haider et al. (2016).

Figure 7. qEEG analysis tools used for identifying seizures (Haider et al, 2016)

Although such tools save time, they are not able to detect subtle seizure events which are extremely focal, small in amplitude or very brief in duration (Haider et al., 2016). Human intervention is often required (Swisher et al., 2015). Consequently, qEEG analysis is considered an auxiliary tool to be used alongside the analysis of the raw EEG signal.

Commercially available seizure detection software, such as an industry-leading product offered by Persyst Development Corporation (2016), perform poorly in clinical settings. Common complaints from users include low sensitivity and large latency (Haider et al., 2016). To understand how to design an efficient automated seizure detection algorithm, we first need to understand what makes the seizure identification problem difficult. We will specifically examine the morphologies that comprise a seizure. Specifically, we will discuss the two most prominent ictal morphologies: spike and wave discharges and lateralized/generalized periodic discharges: We will also discuss two morphologies that contribute most prominently to a high false alarm rate: slowing and artifacts.

### Ictal Epileptiform Features

Epileptic seizures consist of epileptiform events such as spikes, sharps, spike/sharp and wave discharges/complexes, spike and slow wave discharges/complexes, polyspikes and hypsarrhythmia. In our research, we decided to consider all these events variants of spike and wave discharges with the exception of hypsarrhythmia. We exclude hypsarrhythmia because the event morphologies observed during hypsarrhythmia lack any periodic or rhythmic structure. Rather, hypsarrhythmia event morphologies are a chaotic mixture of high amplitude slow waves, multifocal spikes and asynchrony (Scher, 2017). The identification of a seizure event is confirmed based on the evolution of frequency, amplitude, affected (focal or hemispheric) regions and their spread (Stefan & Theodore, 2012). Trains of small duration ictal discharges (less than 90 msec for spikes and 90-300 msec for sharps) are observed during the most seizure events. These discharges with frequencies greater than 3 Hz and a duration of at least 10 seconds confirm the existence of a seizure event (American Clinical Neurophysiology Society, 2012). Potential seizure events with parameters outside these ranges require additional information such as a determination of the epilepsy type (i.e. absence seizures). On the other hand, epileptiform discharges that satisfy these criteria are automatically confirmed as seizure events. Other epileptiform events which are not covered by this definition require further evidence (e.g., absence seizures lasting for 2 seconds or periodic discharges occurring at a frequency of 1 Hz). Since identification of ictal features is the first step towards confirming a seizure event, in our automated system we add an additional step for detecting epileptiform features on a per-channel basis.

### Periodic Discharges

Periodic discharges such as generalized periodic discharges (GPD) or lateralized periodic discharges (LPD) are abnormalities which occur at a constant interval. If these discharges are confirmed as epileptiform, high frequency trains or evolution of these events can be indicative of a seizure event. However, the periodicity at which the GPDs are considered as epileptic seizures is not clear and highly disputed in the literature (Kubota et al., 2018). This makes identification of these events challenging.

### Slowing

Slowing includes a broad set EEG events which can indicate normal, mildly abnormal and abnormal EEGs depending on a number of factors. We specifically focus on post-ictal slowing events which occur at the offset of a seizure. Annotation of post-ictal slowing is not easy since it can last from a couple seconds to a week (von Weltin et al., 2018). This adds additional difficulty in marking the offset of a seizure event. We have applied a stringent set of rules for determining slowing in the TUSZ Corpus (Ochal et al., 2020; Shah et al., 2018): an offset is annotated when consistent evolution is phased out and small attenuated gaps between the slow waves are found.

### Artifacts

Since scalp EEG recordings are non-invasive, extraneous activities from surface and environmental disturbances can be observed throughout the record. These events are referred to as artifacts. Artifacts are events observed in EEG signals which are not related to actual brain activity. EEG artifacts may resemble activities similar to cerebral abnormal or normal morphologies (e.g., epileptiform discharges and intermittent rhythmic delta activity). While some artifacts resemble actual brain activity, others introduce severe noise into a signal, making interpretation of the record difficult if not impossible.

Clinical settings such as a neurological intensive care unit (NICU) or a cardiac intensive care unit (CICU) contain a great deal of ambient electronic noise. In such environments, the introduction of noise due to movement of personnel and an agitated patient are common (Krauss & Fisher, 2011). Such settings produce intermittent or continuous electromyogram (EMG) high-frequency artifacts which can completely obscure underlying brain activity. These high frequency/amplitude irregular activities can appear in a frequency band ranging from 20 to 50 Hz. Other artifacts may include chewing, electrode pop/shake, shivering and eye movements.

## ACNS Standards for Seizure Identification

The American Clinical Neurophysiology Society (ACNS) (2012) has produced a standard set of guidelines for identifying seizure events for intracranial and scalp EEG recordings. Clinicians are encouraged to research, interpret and diagnose patients using this nomenclature and these guidelines.

Spike and wave discharges at 3 Hz or faster and clearly evolving discharges of any type that reach a frequency of 4 Hz can be considered as seizures (Hirsch et al., 2013). There is also the 3 Hz-10 second rule previously discussed. Although these definitions are straightforward, other morphologies which do not meet these criteria introduce ambiguity. The ACNS guidelines state: “Generalized spike and wave patterns slower than 3/s; and evolving discharges that remain slower than or equal to 4/s does not imply that these patterns are not ictal, but simply that they may or may not be.” Additional information is necessary to make a final decision about a seizure event. Such decisions are usually dependent on a clinician’s experience, institutional conventions and a patient’s condition. IRA among experts on such seizure events is very low (Haider et al., 2016; Swisher et al., 2015).

## Ictal Discharges and EEG Gray Zone Events

Based on the evolution of the epileptiform events, seizure events can be divided into two classes: isomorphic and metamorphic. Isomorphic events show little to no change throughout the phase (i.e. absence seizure) of the event whereas metamorphic events show multiple phases of an event evolving through time (i.e. tonic-clonic seizure). Figure 3 and Figure 5 show easily identifiable examples of isomorphic and metamorphic seizure events respectively. Although the example shown in Figure 3 shows a clear distinction between its onset and offset marks, in many cases, for patients with other epilepsy syndromes such as Lennox-Gastaut syndrome (LGS) or patients showing hypsarrhythmia, there is little to no changes in their electrographic signals. Patients with LGS can show multiple types of epilepsies in different focal regions. As a result, multiple types of seizure events can be observed throughout the record with subtle transitions in the signal morphologies. This makes the onset or offset detection of a seizure event hard. The onset and offset marking for the isomorphic seizures is a big challenge which requires additional insight about the clinical correlates and patient history.

Figure 8. The ictal-interictal continuum (IIC) frequency range for periodic discharges (Sivaraju & Gilmore, 2016)

Periodic discharges such as LPDs and GPDs are heterogeneous and multifactorial (attributed variety of causes such as metabolic, infectious or epileptic disorders) which makes some sort of generalized rule for seizure detection difficult (Chong & Hirsch, 2005). These periodic discharges are often observed in an ictal-interictal continuum (IIC) where seizure identification becomes subjective (Sivaraju et al., 2016; Persyst Development Corporation, 2020). In Figure 8, we can see the ambiguous “gray zone” region associated with the periodic discharges with periodicity less than 3/cycles. Similarly, Figure 9 shows a clear depiction of the uncertainty involved in determining whether periodic discharges due to a cortical injury are determined to be a seizure event. Both these examples often require additional information about the patient and remain a very subjective decision.

Figure 9. A continuum of events related to neuronal injury (Chong & Hirsch, 2005)

These are a few examples of why the identification of a seizure event from an EEG signal is a challenging problem. There are additional challenges in interpreting scalp EEG recordings in clinical settings that include a lack of a medical history (including medications), a lack of video recordings, mechanical artifacts and other pathological complications such as triphasic waves observed in encephalopathic patients. Also, sedative medications reduce the energy of the cerebral signals and hence the quality of the recordings.

## Interrater Agreement Among Experts

For many of the reasons previously discussed, and to avoid over-medicating patients (which can cause long-term damage), neurologists tend to annotate EEGs conservatively (Benbadis, 2010). Not surprisingly, there are often disagreements among the experts. Consequently, interrater agreement (IRA) among experts remains quite low (a typical kappa statistic is approximately 0.5) (Haider et al., 2016; Swisher et al., 2015; Ronner et al., 2009). Poor IRA makes annotation of large corpora a challenge because the annotations will not be consistent when multiple annotators are involved. Models developed and evaluated on such databases tend to yield lower performance, especially with harsher scoring metrics.

We typically employ undergraduates to annotate data. These student experts were responsible for creating the TUSZ database (Shah et al., 2018). These students were trained to annotate data based on the principles previously discussed. We conducted an IRA study between the student annotators and expert clinicians to evaluate their consistency for annotating seizures. We established some specific rules for these annotations since the ACNS guidelines are a bit vague in places. Examples of rules we needed to refine address (1) frequency evolution of periodic lateralized discharges (PLDs) and generalized periodic discharges (GPDs) appearing in long bursts, (2) post-status epilepticus stages and “gray zone” Ictal Interictal Continuum (IIC) phases, and (3) low frequency (1-3 Hz) spike and wave discharges lasting for more than 10 seconds.

To solve (1), annotators were required to annotate periodic discharges greater than 3 Hz in frequency and lasting more than 10 seconds regardless of their waxing (bursty) and waning (slow) patterns. If the frequency is lower than 3 Hz, evolution of the discharges was taken into account to confirm a seizure. For (2), we mark the offset of an event when the first suppressed or attenuated background is observed during the post-ictal slow waves. Similar to (1), we incorporate evolution of the discharges prior to making a decision about (3). Despite these very specific guidelines, there are still many cases for which determination of a seizure is ambiguous. To make sure the final annotations are consistent, we submit these cases to group review and achieve a consensus.

Although student annotators rely heavily on the reports for the annotation process, for this IRA study they were not permitted to use the reports. Their performance was compared to “gold-standard” annotations derived from annotations provided by multiple expert neurologists. Data was drawn from three databases collected at three different hospitals: TUSZ (Shah et al, 2018), the Duke University Seizure Corpus (DUSZ) (Swisher et al, 2015), and the Emory University Seizure Corpus (EUSZ) (Haider et al., 2016). We evaluated the performance of our annotators using Cohen’s kappa statistic (McHugh, 2012) The final annotations delivered by our student annotation workflow yielded a kappa statistic of 1.0 for TUSZ, 0.73 for DUSZ and 0.83 for EUSZ. This demonstrated the viability of using student annotators for the seizure detection task and enabled the development of a large corpus annotated data necessary for this study.

NEURAL NETWORK MODELS

Advances in computer technology and big data resources have allowed researchers to develop a new generation of machine learning technology, often referred to as deep learning, that has significantly advanced performance in traditional disciplines like speech, image and text analysis. Multiple machine learning algorithms have been proposed for EEG event classification in the past two decades. Shoeb & Guttag et al. (2011) used support vector machines (SVM). Roy et al. (2019) used k-nearest neighbors (kNN) and convolutional neural networks (CNN) for classification of various types of seizures. Golmohammadi et al. (2018) used various hybrid machine learning architectures to establish baseline performance on TUSZ. The best performing model from this study will serve as a baseline system in this study. In this chapter, we introduce a new two-phase model design for improved segmentation performance.

## Relevant Neural Network Architectures

EEG interpretation requires integrating information from both the temporal and spatial domains. Algorithms that can efficiently process this type of information are ideal candidates for seizure detection. Sequential algorithms such as hidden Markov models (HMM) (Picone, 1990) and long short-term memory (LSTM) neural networks (Hochreiter & Schmidhuber, 1997) are well-known algorithms that can model temporal sequences. Similarly, convolutional neural networks (CNNs) (Goodfellow et al., 2016) are able to learn structural information from the data. Various hybrid architectures involving combinations of these algorithms will be discussed extensively in the following sections. However, prior to discussing such complex networks, it is important to understand the

Figure 10. Diagram of a multilayer perceptron network

structure of a generic feedforward neural network known as a multilayer perceptron (MLP). This network forms the basis for the more complex networks discussed later in this chapter and serves as an important baseline.

### The Multilayer Perceptron

A multilayer perceptron (MLP) is a fundamental type of neural network. Each layer of the network performs an affine transform on the input data followed by a nonlinear transformation of that result (Goodfellow et al., 2016). An affine transform can be represented as:

- y =Wx+b,	(1)

where the matrix W and vector b represent parameters that are usually set by optimizing some objective function. Figure 10 shows diagram of a multilayer perceptron network with a single hidden layer. The number of nodes associated with input (green), two hidden layers (blue) and output layer (red) are 3, 5, 5 and 2 respectively. Connections between the nodes, represented by arrows pointing from left to right, are assigned specific weights and are the parameters of the network that must be optimized during training. Note that in a typical MLP network, each neuron in a given layer is connected to all of the neurons in the predecessor layer. This is why an MLP network is often referred as a fully connected or dense network.

An MLP network exhibits powerful learning capabilities through the introduction of a nonlinearity. In order to introduce a nonlinearity, we transform y using a nonlinear function, also known as an activation function, such as a rectified linear unit (ReLU), a hyperbolic tangent (Tanh), or a sigmoid (Goodfellow et al., 2016). These nonlinearities control the amount of information transfer to the following sections of the network. The output of a complete MLP network can be represented as:

- MLPx,W= fx,W  =fL-1 …  f0 x, W0… , WL-1 ,	(2)

where W, which includes the bias term in equation (1), represents the weights, or parameters of the network, and f() represents an activation function. The superscript L represents the number of layers of the network. For example, output of the first layer of an MLP network can be represented by f0 x0, W0. Similarly, x0 can be considered as the input to the first layer.

In many hybrid classifiers, the final layer is an MLP network where the activation function is a sigmoid or softmax function (Goodfellow et al., 2016). A sigmoid function can be represented as:

- σx = 11+e-x ,	(3)

while a softmax function can be defined as:

- σxi = exij=1nexj .	(4)

Both these functions yield an output in the range [0,1]. These functions compress the unbounded output of the network to a fixed range so that the output value can be used as a proxy for a posterior probability (Goodfellow et al., 2016). This final layer design is employed by many hybrid networks including the CNNs and LSTMs discussed here.

### Convolutional Neural Networks

Figure 11. CNN network topology (Jordan, 2017)

A convolutional neural network (Jordan, 2017) is a popular neural network variant which is efficient at learning local correlations in structured data. Unlike the fully connected MLP network discussed in the previous section, CNNs operate on data on a block by block basis using a specific local parameter matrix called a convolutional kernel. Figure 11 shows the basic CNN network topology. The nodes associated with the convolutional layer in this figure are transformed vectors generated by a 2x2 kernel. That is why they share the same parameters (θi,j) across all input vectors.

Convolutional kernels are designed to learn abstract local patterns in data. This is best demonstrated through a simple image classification example. The outputs of the kernels associated with the initial layers of the network are designed to learn low-level properties of the image such as edges, curves and color gradients. The kernels at the later stages learn global patterns and shapes in the data such as whether the edges or curves are associated with specific objects or properties of the image. Figure 12 shows an example of how facial features are learned by the kernels as we move deeper and deeper into the network.

Figure 12. An example of feature maps generated by CNN kernels (Lee et al., 2009)

The outputs of the convolutional kernels are called feature maps. This is because during training, kernels attempt to learn the features associated with the data. A channel of a convolutional network, different from an EEG channel, can focus on a specific dimension of the data such as pixel color. For example, a 3-channel image classification system could have three sets of convolutional neural networks – one associated with each color (e.g., red, green and blue – if color was determined to be an important feature for classification.

Mathematically, output of a CNN layer can be defined as:

- xl+1= fxl, Wl= fxl * kl+ bl ,	(5)

where the operator ‘*’ indicates a convolution operation, k represents the kernels of layer l and b represents the bias vectors associated with the kernels. In some of the models developed in this study, we will be using 2D CNN networks. In this case, the output of a 2D CNN network at layer l is:

- fc< Mlx< Xl, y< Yl   xc, i+Xl-1-x,j+Yl-1-y (l)· kc,d, x,y (l)+bcd (l) ,	(6)

where i and j refer to the coordinates of a pixel. A CNN operation is performed with a sliding window by iterating over values of i and j until the entire image has been processed. In equation (6), the subscript i+Xl-1-x represents the reverse indexing portion of the convolution operation. The channel and kernel numbers are represented by the variables c and d respectively. A bias operator, bcd (l), is added at the end of the convolution operation.

It is important to note that the operations performed in equation (6) are for a single kernel associated with a CNN channel. The outputs from each channel are concatenated and passed to the next layer. This is a simplified version of the core CNN operation. It does not incorporate strides, sliding batches or zero padding operations that are essential for operating efficiently on big data sets (Vesely´ et al., 2013). We can exploit this image processing approach for EEG signals by treating the multichannel EEG signal as a 2D signal that is a function of time (e.g., sample number or frame number) and space (e.g., channel number).

### Long Short-Term Memory Networks

A long short-term memory (LSTM) network is a class of recurrent neural networks (RNN) which is popular due to its ability to learn long-term relationships in sequential data (Hochreiter & Schmidhuber, 1997). A typical network layout for an RNN is shown in Figure 13. Comparing this to the MLP network shown in Figure 10, we can observe that along with adjacent layers, nodes of RNNs also have connections within the layers. This suggests that the RNN networks are influenced by a node’s recurrent path (self-loops) and the state of the remaining nodes within the layer.

Figure 13. A typical recurrent neural network

The architecture of an LSTM cell is shown in Figure 14. An LSTM network is designed to control information flow within the network by introducing additional states which are able to remember or forget (weight) a sample of a sequence vector. These networks add an additional state vector called a cell state which aids in controlling the emphasis of new information given to its memory. Cell states are computed via following equation:

- ifog = σσσtahh W ht-1xt ,	(7)

- ct=f ⊙ ct-1+ i ⊙ g ,	(8)

- ht=o ⊙ tanh(ct) ,	(9)

Figure 14. Architecture of an LSTM cell (Hochreiter & Schmidhuber, 1997)

where i, f, o and g are internal gates which are used to compute the cell state of the LSTM network. The symbol ⊙ is the element-wise multiplication operator. Element-wise multiplication, also known as a Hadamard product, performs multiplication on two matrices of the same dimension where the element at position (i,j) of the first operand is multiplied by the element at position (i,j) of the second operand. In equations (7)-(9), this operator is used to control the information flowing through the input gate, the output gate and the cell states. We can see from equation (8) that the gate f controls the information coming from the previous state and similarly gate g controls the information coming from the new input step. This weighting mechanism helps LSTMs learn patterns in longer sequences.

## Features

There are two general types of inputs used in modern machine learning systems: knowledge-based features or sampled data. While it is possible to input sampled data directly into a system, this approach has not shown to be particularly promising for EEG signal classification in our preliminary experiments. In this study, we will focus on knowledge, or model-based, features known as linear frequency cepstral coefficients (LFCCs) (Harati et al., 2015). LFCCs are similar to the mel-scaled features used in speech recognition known as MFCCs (Xu et al., 2004). For EEG signals, our LFCC features use linearly scaled filter bank outputs as opposed to the logarithmic scale used in MFCCs. Both speech signals and EEG signals contain crucial information in the lower frequency range of the spectrum – much lower than the sample frequency. For example, a speech signal is a quasi-periodic signal that includes a fundamental frequency related to a speaker’s vocal tract dimensions (Darwin et al., 2003). The fundamental frequency of a speech signal ranges from about 50 Hz to 550 Hz. A common sample frequency for a speech signal is 8 kHz. A logarithmic spectral representation is used based on knowledge of the human auditory system, which is known to be sensitive to frequency on a logarithmic scale (Picone, 1990).

An EEG signal, on the other hand, as explained previously, includes periodic discharges that have a fundamental frequency in the range of 1-3 Hz. EEG signals are most often sampled at 250 Hz. The frequency range from [0, 25 Hz] contains most of the useful information. A linear frequency representation of this range is slightly advantageous over a logarithmic representation (Harati et al., 2015).

In our standard feature extraction process, the first 7 cepstral coefficients excluding the zeroth order coefficient are computed. A frequency domain energy term is added as the 8th feature:

- Ef=log(k=0N-1X(k)2) .	(10)

We also include a differential energy term which has been proven effective in identification of spike-like activity that can indicate epileptiform activity. This differential energy term is computed using a sliding window approach:

- Ed=maxmEfm-minmEfm ,	(11)

where differential energy Ed is calculated over 9 frames (0.9 seconds). This term attempts to model long-term change in energy of a signal.

Another computation we borrow from a classical speech recognition front end is the use of first and second order differential features (Young et al., 2006; Harati et al., 2015). We augment the 9 base features, which we often refer to as absolute features, with first derivatives of these features, referred to as delta features, and second derivatives, referred to as delta-delta features. Note that the second derivative of the differential energy term is not used. This brings the total dimension of our feature vector to 9 + 9 + 8 = 26.

Rather than attempt to compute spatial features, we leave the task of learning spatial correlations of the features to the deep learning system. We will also explore better ways to select features, order features, combine features and reduce dimensionality.

## A Multiphase Recognition System

Often algorithms designed to solve the seizure detection problem analyze the signals (or its derived features) in a single iteration using a single stream. The models are expected to learn the traits of a seizure event without any knowledge of important components of these events such as spike and wave discharges. Commercially available technology (Golmohammadi et al., 2018; Persyst Corporation, 2016; Haider et al., 2016) yield extremely low performance on seizure detection tasks (~20-30% sensitivity with 2-7 false positives per 24 hours). These models self-organize information without direct knowledge of underlying cerebral activities. In this study, we attempt to mimic the human annotation process by splitting the seizure detection problem into two separate phases.

We develop a model which focuses on underlying epileptiform morphologies in the first phase (P1) of the system and localizes events in the second phase (P2). Specifically, the primary model learns temporal context via a channel-specific LSTM model. This is followed by learning the spatial/temporal context using a CNN-LSTM model. The second phase CNN-LSTM model uses features collected from the first phase. The results from this approach suggest that multiphase systems are able to outperform traditionally developed models.

Multiphase models have traditionally been used in many machine learning disciplines such as speech recognition. Automatic speech recognition (ASR) tools such as Kaldi (Povey et al., 2011) use multiphase models (also known as a multi-pass system) to improve system performance by iteratively increasing the complexity of the model in each phase. We follow a similar approach for our seizure detection models. Instead of emphasizing a purely data-driven approach, we separate the problem into two separate event detection tasks motivated by domain knowledge.

A very common indication of a seizure event is the existence of an epileptiform event called a spike and wave discharge (Tatum et al., 2014). These events can be observed throughout all the channels of an EEG for a generalized event or on a specific set of channels for a focal event. Sometimes a focal event can spread to other parts of the brain, which is referred to as a secondary generalized seizure. The evolution of these activities across time helps identify a seizure event. Once these activities are observed, seizures can be confirmed based on their focality, signal energy and polarities across electrodes.

Figure 15. The proposed multiphase model

The seizure detection task can be divided into two separate tasks as shown in the block diagram in Figure 15. A channel-based LSTM model is used to detect epileptiform activities associated with various types of seizures. Since there is no way of confirming a seizure event without examining multiple channels of an EEG, this model only learns the shape and evolution of the discharges associated with the seizures. With this approach, seizures evolving with time (indicated by an increase in signal amplitude) are easier to identify compared to seizures with discharges with a constant amplitude and frequency.

This channel-based LSTM is followed by a CNN-LSTM seizure detection model which incorporates temporal and spatial context (EEG channels). This model uses two sets of features: (1) LFCC features described in Section 4.2, (2) augmented features collected from the phase 1 model. In other words, the augmented features of the P2 model are created using the posteriors extracted from the P1 model.

### Data Flow Considerations

Both models are optimized to perform a binary classification – seizure or background. This decision is made on a frame by frame basis using a predefined sliding analysis window. The P1 model was developed to identify epileptiform activities. Epileptiform activity can be associated with a seizure event, so we expect our P1 model to be confident for epileptiform morphologies belonging to a seizure but confused when the seizure is absent. We will abbreviate a seizure label as “seiz” and non-seizure label as “bckg” (short for background EEG) even though for the P1 model we are actually detecting epileptiform events.

Training is performed on minibatches (Goodfellow et al., 2017) using a variant of stochastic gradient descent (SGD) algorithm called Nesterov momentum (Sutskever et al., 2013). Nesterov momentum attempts to increase the speed of training by introducing a momentum term based on accumulated gradients of its previous steps and a correction term in the direction of the current gradient. This tends to reduce the amount of overshoot during the optimization.

The models are trained and evaluated using LFCC feature vectors discussed in Section 4.2. We use a frame duration, Tf, of 0.1 secs to represent how often features are computed. We use a window duration, Tw, of 0.2 secs to denote the amount of data used to compute the features. Windows are usually centered about frames and overlap into the preceding and future frame to provide continuity. We will denote a feature vector as rf. We train deep learning models using a sliding window approach with a window W of duration L (in seconds) and frame duration epk. This is the time interval over which the deep learning system will output a decision. This is set to a constant value of 1 sec for all our experiments. This is equivalent to 10 frames (repk=rfTf).

Furthermore, we pass a window W consisting multiple epochs to the models. Window sizes for the P1 model and P2 model are 7 seconds and 11 seconds respectively (Lp1= 7 · repk, Lp2= 11 · repk). These windows incorporate sufficient temporal context to learn the differences between the classes.

We can represent the reference annotations, often referred to as ground truth labels, using a categorical vector:

- PW= 1(xW=s1); 1(xW=s2)  ,	(12)

where 1() is the indicator function which represents binary values 0/1 based on the index of the label and the variables s1, s2 correspond to the labels “seiz” and “bckg.” For a seizure event, PW=1, 0; for a background event, PW=0, 1.

Once the feature vectors rW and their labels PW are created, we can define the training set for the model as:

- Pepk 0, repk 0, Pepk 1, repk 1 , …, (Pepk N-1, repk N-1)  .	(13)

Note that the training samples are created with a sliding window approach with a window duration of W and frame duration of epk. Each epoch serves as a center of the window W (a center aligned window). For example, for the P1 model, training samples are created by a sliding window approach with the window duration of 7 seconds and frame duration of 1 second with label of the epoch is chosen from the epoch 4 (the center epoch of the window). Epochs at the beginning and end of the EEG record lack the samples necessary to fill up a window. In such cases, the windows are zero padded when the values are missing.

The output of the neural network can be considered as an estimated probability mass function (PMF) of the input data distribution. The output of the neural network provides posterior values. The class estimation is done by selecting the maximum posterior values from the output neurons:

- ŝW= argmaxsW∈SPW .	(14)

Note that PW contains the posteriors of the model which should be in the range [0, 1]. Since, the classification is binary, the posterior distribution of training samples simply becomes a Bernoulli distribution.

### Channel-based Long Short-Term Memory Networks

The P1 model of the recognition system uses a 3-layer LSTM model to learn variants of the spike and wave discharges occurring during a seizure event. There are 256, 64 and 16 LSTM neurons in three hidden layers of this network. This is followed by two dense neurons at the output layer. The activation function used for each layer is a hyperbolic tangent function, tanh(), except for the final layer which uses a softmax nonlinearity. The complete architecture of the model is shown in Figure 16.

We use a 26-dimensional LFCC feature vector discussed in Section 4.2 for this model. This vector is concatenated by adding 10 frames of context on both sides of the frame. The output dimensionality for each frame becomes 10 x 26 (left) + 26 (center) + 10 x 26 (right) = 546. The static LSTM cells are used with a fixed batch size of 64 and a window size of 7 seconds. The data is randomly split into subsets where 80% is used for training and 20% is used for cross-validation during optimization. The features are normalized and scaled down to a range of [-1, 1] on a file basis, which helps the gradient descent algorithm (and its variants) to converge much faster (Ioffe & Szegedy, 2015). Shuffling was performed on batches to avoid training biases.

Figure 16. A channel-based long short-term memory network architecture

The output of a window sequence of the channel-based LSTM model can be represented as:

- PW= PCh-LSTM (xepk=s1  rL-1, rL-2,…,r0  )PCh-LSTM (xepk=s2  rL-1, rL-2,…,r0 ) .	(15)

PW serves as posterior value for epoch xepk. This per-channel posterior vector is used to create an augmented feature vector for the P2 model.

### Feature Augmentation

Prior to training the P2 model, which can learn spatio-temporal properties of a seizure, we augment the existing feature vectors with the previously trained model’s hypotheses. The P1 model learns ictal discharges on a per-channel basis. The features generated by the previous models’ posteriors can provide more insight into properties of the signals. These posteriors are used to create three types of augmented features. The first type of augmented features are posterior probabilities of the individual classes estimated from equation (15). The second type of augmented features are created from estimated onsets of the detected events. For each frame of the feature vector, we calculate a distance from the onset mark and bound it within the range [0,1] by applying an exponential function to it. Similar to the second type, the third type of augmented features are created from estimated offsets of the detected events. These features are bound between [0,1] using the same method.

The last two types of augmented features capture temporal information about the distance from detected event’s onset and offset. These features indicate how far the current epoch/frame is from the previously detected event and how far the current epoch/frame is in the current event. That is why we will refer to these features as “raw history features.” The range in which EEG events last vary drastically. For instance, a seizure event can last from 3 seconds to several days. On the other hand, background events can last indefinitely (days if a patient is not seizing).

Patients with long duration or frequently occurring seizures are diagnosed differently than patients showing brief seizures. This is because longer recurrent seizures are considered more severe to the brain and requires immediate attention. On the other hand, brief seizures not associated with autonomic instability (loss of or nonvoluntary bodily functions) may differ unless a seizure interferes with a patient’s breathing process (Stafstrom & Carmant, 2015).

Recurrent seizures are expected to occur more closely over a very long period of time (i.e. hours or days). In some cases, recurrent seizures can occur every couple of minutes which add up to hundreds of seizures per 24 hours (Yuan et al., 2013). That means when the first seizure is identified, we can expect more seizures in the near future. In other words, recently detected events carry more information than an event detected further back in time. We use our P1 model’s detections to include this information as features. We mark these detections as a binary vector.

- swn= 1sn(xw0=sn0),1sn(xw1=sn1),…,1sn(xwN-1=snN-1)   ,	(16)

where n is the timestep in the record/file of duration N epochs. The event distance from the previous onset/offset mark is captured via the cumulative function:

- Δw(n)= event_distŝw(n) ,	(17)

where event_dist represents distance from the previous onset or offset mark. We perform this operation for both classes.

The detections are further converted into segments where each segment contains the distance from the last detected onset. If a new onset is not detected, the segment extends until the end of the record. This same approach is used for the offset segments. These segments representing the distance from last detected onsets and offsets are weighted by the equation:

- Δw(n)weighted=ø-Δw(n)+ eps ,	(18)

where n is the time step of the segment indicating distance of the current, ø is a constant value that is heuristically estimated for seizure and background classes, eps is an offset value set to 1e-08 to introduce some denseness to the array.

The value of ø used for our experiments is 1.035 for the seizure class and 1.05 for other events such as artifacts and background event. The offset value, eps, is introduced because we feed these features to a CNN network in the P2 model. CNNs are designed to work with dense data. The generic CNNs used in P2 are not optimized for sparse data. In the image recognition field, to deal with the sparse representation of the data, preprocessing steps such as adding validity masks (Jaritz et al., 2018) and new variants of CNNs such as sparsity invariant CNNs have been developed (Uhrig et al., 2017). In our case, adding a small offset value eps avoids degradation in performance.

Equation (18) is used to scale the onset and offset feature dimensions for both classes. Not only does it scale the value of the feature dimension based on its distance from the event, but also bounds it within the range [0,1]. This normalization helps the neural network learn faster (Ioffe & Szegedy, 2015). This feature augmentation process is summarized in Figure 17. We combine three derived history features for the seizure class, three derived history features for the background class and 26 LFCC features discussed in the Section 4.2 for our P2 model.

### A CNN-LSTM Network for Modeling Context

Spatial information plays an essential role in identification of an EEG event. The P2 model is a hybrid network which consists of a 3-layer CNN network followed by two bidirectional LSTM layers and a 2-neuron MLP network. The model design is shown in Figure 18. A 2D CNN network deals with data in three dimensions: samples representing time-steps of the EEG record, EEG channels, and feature dimensions. The input shape of the model is set so that kernels can stride (slide) through timesteps and EEG channels. The channels of the CNN network are associated with the dimensions of the feature vector rf (similar to the RGB channels of an image).

Figure 17. Feature augmentation using the P1 posteriors

Generic CNN networks are incapable of learning translation and rotation invariance (Dieleman et al., 2016). Translation and rotation invariant systems should be able to detect target objects (such as face detection in image recognition) regardless of its location, shift or rotation in its geometry. Electrode positions belong to specific regions of the brain. Each region behaves differently and plays an important role during the interpretation process. We also avoid zero padding in the first layer of the network so it can remember the channel locations more effectively. This is because lower elements of the kernels are never exposed to the upper channels and vice versa. This way, kernels do not generalize over different brain lobes which is beneficial because brain lobes behave differently. Additionally, this also reduces the size of the feature maps generated from the first layer.

Figure 18. A CNN-LSTM network architecture for modeling context

In the P2 model, we use the original 26-dimensional LFCC features augmented with six history features collected from the P1 model, making the input feature vector a 32-dimensional feature vector. The additional six features consist of posteriors, onset and offset history for both the seizure and background classes. Hyperparameters associated with the kernel sizes of the network are selected based on domain knowledge. The input shape of the network is (110, 22, 32) because the input signal contains 11 seconds (110 frames) of data, 22 TCP montage channels and 32 features. We use 11 seconds of temporal context following the 3 Hz-10 second rule discussed in Chapter 3. We use 32 kernels during the first layer with a size of (30, 4) where kernels operate on 30 samples in the temporal dimension and 4 electrode samples in the spatial dimension. The minimum duration that a seizure can have is 3 seconds (i.e. absence seizures). Since there are 10 feature vectors per second, the temporal dimension is set to 30. We focus on 4 channels at a time in the spatial dimension to mimic how experts divide channels while visually reviewing an EEG signal.

The output from the first layer of the 2D-CNN layer is learned using 32x32 = 1024 kernels. The feature maps generated by the first layer are learned by the second layer with the same number of kernels but with half the size used in first layer. The second layer uses (15, 2) kernels. Maxpooling (Goodfellow et al., 2017) is performed on the feature map outputs using a kernel size of 2x2 samples. The third 2D-CNN layer is identical to the second layer but uses 64 convolutional kernels. The fourth layer of the network is a 1-dimensional (1D) CNN network. Output of the third layer is a 3-dimensional tensor which is reshaped to a 2-dimensional tensor by concatenating the vectors of last two dimensions. This reshaped data is passed to a 1D CNN layer which has 16 kernels of size 3. All CNN layers use a ReLU nonlinearity function (Goodfellow et al., 2017). The output of the 1D CNN layer is further reshaped to a 1D array and passed to the LSTM sequential layers. Two LSTM layers with sizes of 64 and 128 are used at the end of the network. The activation used for these sequential layers is a hyperbolic tangent function.

The CNN approach used here is different from conventional approaches used for image classification. We keep the kernel size large in the beginning and avoid maxpooling to allow first two layers to learn all the underlying EEG signal properties without loss of information. Channels of the CNN network are mapped to the 32 dimensional feature vector. Since channels of the CNNs are optimized independently, the set of CNN kernels assigned to each feature are optimized independently during the first layer of the network. From Figure 18, we can see that there are 32 kernels assigned to the first layer of the network. Because the dimensionality of the feature vector is 32, we have total of 32x32 = 1024 kernels. Each set of 32 kernels is assigned to a dimension of the feature vector. Since we use 6 history features, there are 32x6=192 kernels learning solely the history collected from the P1 model’s detections.

Note that the network learns dependencies between the temporal and spatial dimensions via its convolutional kernels. The operations between kernels and input data are linear (i.e. convolution, affine, correlation). On the other hand, the onset-offset features along with each LFCC feature are processed independently in the first layer of the P2 model. Feature maps from the first layer are then combined for all convolutional channels where remaining network competes to better align the segment boundaries. This will be discussed in detail in the results section.

Embedding the history of the previous system’s detection in this way helps the following model highlight the regions of interest and specifically focus on its deficiencies. For example, we know that the model can learn duration and distance from the previously detected event directly from the history features. These augmented features force the P2 model to put more emphasis on the P1 model’s low confidence detections. The P2 model also learns the distribution of the recurrent seizures. Depending on how far the P2 model is from the previously detected event, it should be able to predict seizures occurring in the near future.

## Network Optimization

Optimization of a neural network involves minimization of a loss function, typically by using some variant of a gradient descent algorithm. The optimal set of parameters for a network, denoted, W*, can be represented as:

- W*= argminWLPW, PW ,	(19)

where L is the loss function. We choose our loss function based on cross-entropy. For our categorical labels shown in equation (12) and equation (14), categorical cross-entropy loss becomes:

- Lcross-entropy= HPW, PW= HPW+ DKL(PW, PW) .	(20)

The cross-entropy is estimated using the Kullback-Leibler divergence (Goodfellow et al., 2017).

During the training process, learning rate schedules are modified in three stages. The algorithm for doing this is summarized in Figure 19. During the first stage, we keep the learning rate high at 0.1 and train the model for 4 iterations. At this stage, model avoids any spurious starting points and explores the error space. The model either escapes the area of convergence or settles near more stable regions of the error surface. During the second stage, we keep the learning rate constant but keep track of the training and cross-validation losses. Assuming that the cross-validation set and training set are similar, variation in the model’s training and cross-validation losses should be within expected ranges, if the model is not overtrained. The expected range is represented as ΔTolerance. If the model shows a huge difference between the train and cross-validation set losses, we backtrack and load the previous epoch’s weights. If two consecutive cross-validation losses are close, we can infer that the model’s performance has stagnated for the current learning rate, and we move to the third stage of training known as the annealing stage. In this stage, the learning rate, ϵ, is reduced by half after each iteration until it reaches to some preset minimum value (i.e. 1e-06). Note that, this annealing stage is different from the “learning rate annealing” method where each layer of the network is frozen and optimized with a different learning rate (Brock et al., 2017).

Algorithm 1: An annealing learning rate with backoff

Input: data trX, cvX , size seqLen × featDim

Stage1: Exploration of the error space

Initialize initLR, minValError , annealFactor

for  i = 1, 2, 3, 4

scoreHistory <= train w. high LR

end for

Stage 2: Stagnate w. Backoff

repeat

scoreHistory <= train & crossvalidate w. high initLR

relativeTrLoss <= TrLoss[-2] – TrLoss[-1]

relativeCvLoss <= CvLoss[-2] – CvLoss[-1]

if   CvLoss > ΔTolerance

Load previous epoch weights & Shuffle

end if

until  relativeCvLoss > minValError

Stage 3: Anneal

repeat

scoreHistory <= train w. learningRate

learningRate *= annealFactor

until  learningRate == ∈

Figure 19. The learning rate schedule

This technique was slightly modified for P2 models since there was no cross-validation set used. We skip stage 2 of the algorithm and simply move to the annealing stage after exploring the error space for 4 iterations.

## Postprocessing Steps

It is well known in machine learning research that a good heuristic can be very powerful tool to filter out statistical model errors. We apply a series of heuristics, summarized in Figure 20, to improve the system performance. These heuristics are very important in reducing the false alarm rate to an acceptable level. The first heuristic we apply is a popular method that focuses on a model’s confidence in its output. Probabilistic filters are implemented to only consider target events which are detected above a specified probability threshold. This method tends to suppress spurious long duration events (e.g., slowing) and extremely short duration events (e.g., muscle artifacts). This decision function is applied on the seizure (target) labels only. We compare each seizure label’s posterior with the threshold value. If the posterior is above the threshold, the label is kept as is; otherwise, it is changed to the non-seizure label, which we denote as “background.”

Figure 20. Postprocessing steps

Our second heuristic was developed after performing extensive error analysis. The most common types of errors we observed were false detections of background events as seizures (FPs) which tend to occur in bursts. Usually these erroneous bursts occur for a very small duration of time (e.g., 3 to 7 seconds). To suppress these, any seizure event whose duration is below a specified threshold is automatically considered as a non-seizure, or background event.

Finally, we also implement a smoothing method that collapses sequences of two seizure events separated by a background event into one long seizure event. This is typically used to eliminate spurious background events. If seizures are observed in clusters separated by small intervals of time classified as background events, these isolated events are most likely part of one longer seizure event. In this method, we apply a nonlinear function that computes a pad time to extend the duration of an isolated event. If the modified endpoint of that event overlaps with another seizure event, the intervening background event is eliminated. We used a simple regression approach to derive a quadratic function that produces a padding factor:

w(x) = -0.0083d 2 +0.45d - 0.66 , 	(21)

where 𝑑 is the duration of the event. This method tends to reduce isolated background events when they are surrounding by seizure events, thereby increasing the specificity.

The combination of these three postprocessing methods tends to decrease sensitivity slightly and reduce false alarms by two orders of magnitude, so their impact is significant. The ordering in which these methods is applied is important. We apply them in the order described above to achieve optimal performance.

EVALUATION METRICS

Machine learning model optimization is typically performed in four steps: (1) feature extraction, (2) training, (3) decoding, and (4) scoring. Feature extraction is done by designing well-engineered, and in most cases reduced, quantities of variables which can still effectively represent data for the classification problem at hand. In machine learning, training is done in supervised and unsupervised fashion. Supervised learning requires ground truth labels (i.e. support vector machine) while unsupervised learning doesn’t (i.e. k-nearest neighbors). Decoding is performed to classify unknown data samples. Finally, scoring step evaluates the performance of the model against the data typically not used for training.

There are, in general, two ways to score or evaluate a machine learning technology: user acceptance testing (von Goethem & Hambling, 2013; Banchs et al., 2006) and objective performance metrics based on annotated reference data (Picone et al., 1990; Michel et al., 2017). User acceptance testing is slow, time-consuming and expensive. It has never been a practical way to guide technology development because algorithm developers need rapid turnaround times on evaluations. Hence evaluations using objective performance metrics, such as sensitivity and specificity, are common in the machine learning field. With this approach, it is very important to have a rich evaluation dataset and a performance metric that correlates well with user and application needs. The metric must have a certain level of granularity so that small differences in algorithms can be investigated and parameter optimizations can be evaluated.

## Fundamental Scores and Derived Measures

In machine learning research, performance of a system is assessed using four fundamental quantities: true positives (TP), true negatives (TN), false positives (FP) and false negatives (FN). The quantities TP and TN represent the correct detections and rejections whereas FP and FN represent errors (false alarms and misses). These fundamental scores can be used to calculate further derived measures such as sensitivity, specificity, accuracy, F-scores, etc.

Most supervised machine learning algorithms output different types of bounded (class probability) or unbounded (log-likelihood) confidence measures for the hypotheses. It is possible to put a constraint on one of the performance measures, such as TP, and evaluate it against the other (e.g., FP). A Receiver Operating Characteristic (ROC) (Hajian-Tilaki, 2013) or a Detection Error Trade-off (DET) curve (Martin et al., 1997) calculates TPs and TNs respectively by sweeping through a range of operating points. A ROC or DET curve provides a complete view of performance.

In subsequent sections, we will discuss various metrics which are traditionally used for scoring a temporal sequence. We have adapted these to the EEG problem and discuss their relative merits. We introduce a new metric, Time Aligned Event Scoring, that is specifically designed measure the accuracy of EEG events by carefully considering the accuracy of the segmentation information.

## Evaluation Metrics

Researchers design algorithms to optimize fundamental metrics such as TP, TN, FP and FN. For example, evaluation of voice keyword search technology was carefully studied in the Spoken Term Detection (STD) evaluations conducted by NIST (Wegmann et al., 2013; Fiscus et al., 2006). On the other hand, EEG research groups report their performance by considering an EEG event as a single target or by splitting the time axis into fixed sized frames where each frame is considered an individual target (Vidyaratne & Iftekharuddin, 2017; Knowles & Ghahramani, 2007). We will discuss five different scoring metrics two of which are adopted from speech recognition community; two which are adopted from the EEG research community; and one which was introduced to address the topic of this study. The metrics are briefly described below:

- NIST Actual Term-Weighted Value (ATWV): based on NIST’s popular scoring package (F4DE v3.3.1), this metric, originally developed for the NIST 2006 Spoken Term Detection evaluation, uses an objective function that accounts for temporal overlap between the reference and hypothesis using the detection scores assigned by the system.

- Dynamic Programming Alignment (DPALIGN): similar to the NIST package known as SCLite (Fiscus, 2017), this metric uses a dynamic programming algorithm to align terms. It is most often used in a mode in which the time alignments produced by the system are ignored.

- Epoch-Based Sampling (EPOCH): treats the reference and hypothesis as temporal signals, samples each at a fixed epoch duration, and counts errors accordingly.

- Any-Overlap (OVLP): assesses the overlap in time between a reference and hypothesis event, and counts errors using binary scores for each event.

- Time-Aligned Event Scoring (TAES): similar to (4) but considers the percentage overlap between the two events and weights errors accordingly.

We now briefly describe each of these approaches and provide several examples that illustrate their strengths and weaknesses. These examples are drawn on a compressed timescale for illustrative purposes and were carefully selected because they demonstrate the strengths and weaknesses of the algorithms we are evaluating.

### NIST Actual Term Weighted Value (ATWV)

ATWV is a measure that balances sensitivity and FA rate. ATWV essentially assigns an application-dependent reward to each correct detection and a penalty to each incorrect detection. A perfect system results in an ATWV of 1.0, while a system with no output results in an ATWV of 0. It is possible for ATWV to be less than zero if a system is doing very poorly (for example a high FA rate). Experiments in voice keyword search have shown that an ATWV greater than 0.5 typically indicates a promising or usable system for information retrieval by voice applications. We believe a similar range is applicable to EEG analysis.

The metric accepts as input a list of N-tuples representing the hypotheses for the system being evaluated. Each of these N-tuples consists of a start time, end time and system detection score. These entries are matched to the reference annotations using an objective function that accounts for both temporal overlap between the reference and hypotheses and the detection scores assigned by the system being evaluated. These detection scores are often likelihood or confidence scores (Wegmann et al., 2013). The probabilities of miss and FA errors at a detection threshold θ are computed using:

- PMisskw,θ=1- NCorrectkw,θNRefkw , 	(22)

- PFAkw,θ=NSpuriouskw,θNNTkw ,	(23)

where NCorrectkw,θ is the number of correct detections of terms with a detection score greater than or equal to θ, NSpuriouskw,θ is the number of incorrect detections of terms with a detection score greater than or equal to θ, and NNTkw is number of non-target trials for the term kw in the data. The number of non-target trials for a term is related to the total

Figure 21. ATWV scores this segment as 1 TP and 5 FPs.

Figure 22. ATWV scores this segment as 0 TP and 3 FN events.

duration of source signal in seconds, TSource, and is computed as NNTkw= TSource-NRefkw.

A term-weighted value is then computed that specifies a trade-off between misses and FAs. ATWV is defined as the value of TWV at the system’s chosen detection threshold. Using a predefined constant, β, that was optimized experimentally (β = 999.9) (Fiscus et al., 2007), ATWV is computed using:

- TWVkw,θ=1- PMisskw,θ- β PFAkw,θ .	(24)

A standard implementation of this approach is available at (Fiscus, 2017). This metric has been widely used throughout the human language technology community for almost 20 years.

To demonstrate the features of this approach, consider the case shown in Figure 21. The hypothesis for this segment consists of several short seizure events while the reference consists of one long event. The ATWV metric will assign a TP score of 100% because the midpoint of the first event in the hypothesis annotation is mapped to the long seizure event in the reference annotation. This is somewhat generous given that 50% of the event was not detected. The remaining 5 events in the hypothesis annotation are counted as false positives. The ATWV metric is relatively insensitive to the duration of the reference event, though the 5 false positives will lower the overall performance of the system. The important issue here is that the hypothesis correctly detected about 70% of the seizure event, and yet because of the large number of false positives, it will be penalized heavily.

In Figure 22 we demonstrate a similar case in which the metric penalizes the hypothesis for missing three seizure events in the reference. Approximately 50% of the segment is correctly identified. This type of scoring penalizing repeated events that are part of a larger event in the reference might make sense in an application like voice keyword search because in human language each word hypothesis serves a unique purpose in the overall understanding of the signal. However, for a two-class event detection problem such as seizure detection, such scoring too heavily penalizes the hypothesis for splitting a long event into a series of short events.

### Dynamic Programming Alignment (DPALIGN)

The DPALIGN metric essentially performs a minimization of an edit distance (the Levenshtein distance) (Picone et al., 1990) to map the hypothesis onto the reference. DPALIGN determines the minimum number of edits required to transform the hypothesis string into the reference string. Given two strings, the source string X = [x1, x2, ..., xn] of length n, and target string Y = [y1, y2, ..., ym]  of length m, we define di,j, which is the edit distance between the substring x1:xi and y1:yj, as:

- di,j= di-1,j+deldi,j-1+insdi-1,j-1+sub ,	(25)

Ref: bckg seiz SEIZ SEIZ bckg seiz bckg

Hyp: bckg seiz BCKG **** bckg seiz ****

(Hits: 4 Sub: 1 Ins: 0 Del: 2 Total Errors: 3)

Ref: bckg seiz BCKG **** bckg seiz ****

Hyp: bckg seiz SEIZ SEIZ bckg seiz bckg

(Hits: 4 Sub: 1 Ins: 2 Del: 0 Total Errors: 3)

Figure 23. DPALIGN aligns symbol sequences based on edit distance, ignoring the actual time alignments present in the reference annotation and the system output.

The quantities being measured here are often referred to as substitution (sub), insertion (ins) and deletion (del) penalties. For this study, these three penalties are assigned equal weights of 1. A dynamic programming algorithm is used to find the optimal alignment between the reference and hypothesis based on these weights. Though there are versions of this metric that perform time-aligned scoring in which both the reference and hypothesis must include start and end times, this metric is most commonly used without time alignment information.

The metric is best demonstrated using the two examples shown in Figure 23. In the first example, the reference annotation has a series of 7 events, while the hypothesis contains 5 events. The hypothesis substitutes background for the second seizure event, omits the third seizure event and the last background event. Hence, there are a total of three errors: two deletions and one substitution. In the second example, the reference annotation and hypothesis have been swapped to demonstrate the symmetry of the error calculations. The hypothesis generated two insertions and one substitution.

Figure 24. EPOCH scoring directly measures the similarity of the time-aligned annotations. TP, FN and FP are 5, 2 and 1 respectively.

Epoch-Based Sampling (EPOCH)

Epoch-based scoring uses a metric that treats the reference and hypothesis as signals. These signals are sampled at a fixed epoch duration. The corresponding label in the reference is compared to the hypothesis. This process is depicted in Figure 24. Epoch-based scoring requires that the entire signal be annotated (every second of the signal must be accounted for in the reference and hypothesis annotations), which is normally the case for sequential decoding evaluations. It attempts to account for the amount of time the two annotations overlap, so it directly addresses the inconsistencies demonstrated in Figure 21 and Figure 22.

One important parameter to be tweaked in this algorithm is the frequency with which we sample the two annotations, which we refer to as the scoring epoch duration. It is ideally set to an amount of time smaller than the unit of time used by the classification system to make decisions. For example, the hypothesis in Figure 24 contains decisions made for every 1 sec of data. The scoring epoch duration should be set less than 1 sec. We set this parameter to 0.25 sec for most of our work because our analysis system epoch duration is typically 1 sec. We find in situations like this the results are not overly sensitive to the choice of the epoch duration as long as it is below 1 sec. This parameter simply controls the precision used to assess the accuracy of segment boundaries.

Because EPOCH scoring samples the annotations at fixed time intervals, it is inherently biased to weigh long seizure events more heavily. For example, if a signal contains one extremely long seizure event (e.g., 1000 secs) and two short events (e.g., each 10 secs in duration), the accuracy with which the first event is detected will dominate the overall scoring. Since seizure events can vary dramatically in duration, this is a cause for concern.

### Any-Overlap Method (OVLP)

The OVLP metric is a popular choice in the neuroengineering community (Gotman et al., 1997; Wilson et al., 2003) due to difficulties associated with the accurate annotations of targets. OVLP is a more permissive metric that tends to produce much higher sensitivities. If an event is detected in close proximity to a reference event, the reference event is considered correctly detected. If a long event in the reference annotation is detected as multiple shorter events in the hypothesis, the reference event is also considered correctly detected. Multiple events in the hypothesis annotation corresponding to the same event in the reference annotation are counted as detected for the overlapping reference event. Duration of the events or partial overlaps are ignored during scoring which tends to yield higher sensitivities.

The OVLP scoring method is demonstrated in Figure 25. It has one significant tunable parameter – a guard band that controls the degree to which a misalignment is still considered as a correct match. In this study, we use a guard band of zero. The guard band needs to be tuned based on the needs of the application. Sensitivity generally increases as the guard band is increased.

Figure 25. OVLP scoring is very permissive about the degree of overlap between the reference and hypothesis. The TP score for Example 1 is 1 with no false alarms. In Example 2, the system detects 2 out of 3 seizure events, so the TP and FN scores are 2 and 1 respectively.

Time-Aligned Event Scoring (TAES)

Though EPOCH scoring directly measures the amount of overlap between the annotations, there is a possibility that this metric also too heavily weighs single long events. Seizure events can vary in duration from a few seconds to an hour. In some applications, correctly detecting the number of events is as important as their duration. Hence, the TAES metric was designed as a compromise between these competing constraints. The essential parameters for calculation of sensitivity and specificity such as TP, TN and FP for the TAES scoring metric are defined as follows:

- TP=Hstop-HstartRefdur,  where Rstart ≤H ≤ Rstop ,	(26)

- TN=1-(THstop-THstart)Refdur,  where Rstart ≤H ≤ Rstop , 	(27)

- FP=Hstop- RstopRefdur,if Hstop≥ Rstop, Hstart≥ Rstart and Hstop- Rstop≤1,Rstart- HstartRefdur,if Rstart≥ Hstart, Rstop≥ Hstop and Rstart- Hstart≤1,1,otherwise.	(28)

where H and R represent the reference and hypothesis events respectively, and Refdur represents the duration of the reference events.

TAES gives equal weight to each event, but it calculates a partial score for each event based on the amount of overlap. The TP score is the total duration of a detected term divided by the total duration of the reference term. The FN score is the fraction of the time the reference term was missed divided by the total duration of the reference term. The FP score is the total duration of the inserted term divided by total amount of time this inserted term was incorrect according to the reference annotation. FPs are limited to a maximum of 1 per event. Therefore, like TP and FN, a single FP event contributes only a fractional amount to the overall FP score if it correctly detects a portion of the same event in the reference annotation (partial overlap). Moreover, if multiple reference events are detected by a single long hypothesis event, all but the first detection are considered as FNs. These properties of the metric help manage the tradeoff between sensitivity and FAs by balancing the contributions from short and long duration events. An example of TAES scoring is depicted in Figure 26.

## A Comparison of Metrics

A simple example of how these metrics compare on a specific segment of a signal is shown in Figure 27. A 10-sec section of an EEG signal is shown subdivided into 1-sec segments. The reference has three isolated events. The system being evaluated outputs one

Figure 26. TAES. scoring accounts for the amount of overlap between the reference and hypothesis. TAES scores Example 1 as 0.71 TP, 0.29 FN and 0.14 FP. Example 2 is scored as 1 TP, 1 FN and 1 FP.

Figure 27. An example that summarizes the differences between scoring metrics

hypothesis that starts in the middle of the first event and continues through the remaining two events.

ATWV scores the system as 1 TP and 2 FNs since it assigns the extended hypothesis event to the center reference event and leaves the other two undetected. The ATWV score is 0.33 for seizure events, 0.25 for background events, resulting in an average ATWV of 0.29. The sensitivity and FA rates for seizure events for this metric are 33% and 0 per 24 hrs. respectively.

DPALIGN scores the system the same way since time alignments are ignored and the first event in each annotation are matched together, leaving the other two events undetected.

The EPOCH method scores the alignment 5 TP, 3 FP and 1 FN using a 1-sec epoch duration because there are 4 epochs for which the annotations do not agree and 5 epochs where they agree. The sensitivity is 83.33% and the FA rate per 24 hrs. is very high because of the 3 FPs.

The OVLP method scores the segment as 3 TP and 0 FP because detected events have partial to full overlap with all the reference events, giving a sensitivity of 100% with an FA rate of 0. TAES scores this segment as 0.5 TP and 2.5 FN because the first event is only 50% correct and there are FN errors for the 5th to 7th and 9th epochs (an example of multiple overlapping reference events), giving a sensitivity of 16.66% and a corresponding high FA rate.

It is difficult to conclude from this example which of these measures are most appropriate for EEG analysis. However, we see that ATWV and DPALIGN generally produce similar results. The EPOCH metric produces larger counts because it samples time rather than events. OVLP produces a high sensitivity while TAES produces a low sensitivity but a relatively higher FA rate. In the following section, we will evaluate the performance of various hybrid machine learning architectures and try to infer the behavior of these models without performing any extensive error analysis.

After evaluating each metrics’ performance on a single segment, we can understand the generic behavior of each of these metrics by comparing and contrasting their results. Comparing these metrics’ performance on a real database can provide us an empirical view about their traits. In this section, we score five hybrid architectures developed by Golmohammadi et al. (2018) and compare their results which were decoded on the files of TUSZ v1.1.1 dev-test set. We tabulate these scores in Table 2 where performance is

Table 2. Performance of machine learning architectures according to derived metrics

| Metric | Measure | HMM/ SdA | HMM/ LSTM | IPCA/ LSTM | CNN/ MLP | CNN/ LSTM |
| --- | --- | --- | --- | --- | --- | --- |
| ATWV | Sensitivity | 30.35% | 26.73% | 24.73% | 29.52% | 30.34% |
|  | Specificity | 61.38% | 68.93% | 64.51% | 65.87% | 93.15% |
|  | FA/24 hr. | 98.65 | 75.59 | 94.41 | 94.25 | 12.78 |
|  | ATWV | -0.8392 | -0.8469 | -0.4628 | -0.7971 | 0.1737 |
| DPALIGN | Sensitivity | 44.11% | 33.77% | 35.77% | 43.35% | 32.46% |
|  | Specificity | 66.87% | 72.99% | 69.59% | 71.49% | 95.17% |
|  | FA/24 hr. | 86.15 | 66.98 | 81.17 | 77.67 | 10.19 |
| EPOCH | Sensitivity | 20.71% | 50.46% | 51.02% | 65.03% | 9.784% |
|  | Specificity | 98.22% | 94.82% | 94.09 | 91.55% | 99.84% |
|  | FA/24 hr. | 1418.02 | 4133.34 | 4711.58 | 6738.82 | 125.79 |
| OVLP | Sensitivity | 35.35% | 30.05% | 32.97% | 39.09% | 30.83% |
|  | Specificity | 73.35% | 80.53% | 77.57% | 76.84% | 96.86% |
|  | FA/24 hr. | 77.39 | 60.92 | 73.52 | 77.19 | 6.75 |
| TAES | Sensitivity | 17.29% | 22.84% | 22.12% | 31.58% | 12.48% |
|  | Specificity | 66.04% | 70.41% | 66.64% | 64.75% | 95.24% |
|  | FA/24 hr. | 82.26 | 68.31 | 83.01 | 91.53 | 7.54 |

evaluated based on sensitivity, specificity and false alarm rate per 24 hours.

Comparing results across these five metrics can provide useful diagnostic information and provide insight into the system’s behavior. First and foremost, we tried to postprocess results of each model so that they operate around the same operating point according to OVLP. That is why the sensitivity (according to OVLP) of each model is around ~30-40%. Regardless of having our OVLP results within this range, other metrics show drastically different results which reflects on different properties of the metrics and models.

For example, the IPCA/LSTM and HMM/LSTM systems have relatively higher sensitivities according to the EPOCH metric, indicating that these systems tend to detect longer seizure events. Conversely, since the CNN/LSTM system has relatively low sensitivities according to the TAES and EPOCH metrics, it can be inferred that this system misses longer seizure events. Similarly, if the sensitivity was relatively high for TAES and relatively low for EPOCH, it would indicate that the system tends to detect a majority of smaller to moderate events precisely regardless of the duration of an event. A comparison of ATWV scores with other metrics gives diagnostic information such as whether a system accurately detects the onset and end of an event or whether the system splits long events into multiple short events.

EXPERIMENTAL RESULTS

Table 3. TUSZ v1.2.1 statistics

| Description | Train | Devtest | Blindeval |
| --- | --- | --- | --- |
| Patients | 264 | 50 | 50 |
| Sessions | 581 | 239 | 229 |
| Files | 1989 | 1015 | 985 |
| #Seizure events | 1254 | 679 | -- |
| Seizure Dur (sec.) | 78,838 | 58,322 | -- |
| Total Dur (sec.) | 1,188,313 | 617,102 | 647,948 |

In Chapter 4, we introduced the multiphase model. In this chapter we evaluate performance of the multiphase model for seizure detection and segmentation. We will demonstrate that the P2 model (CNN-LSTM) is able to learn deficiencies of the P1 model and improve performance by delivering better segmentation. We will support this claim by providing a numerical comparison to our previous state-of-the-art system (Golmohammadi et al., 2018). Visualizations of these results will support the results of our quantitative analysis. Performance will be analyzed in terms of sensitivity and specificity using two scoring metrics, OVLP and TAES. Receiver Operating Curve (ROC) plots will also be used to confirm our findings.

## Database

We will use the TUH EEG Seizure Corpus (TUSZ) v1.2.1 (Shah et al., 2018) to evaluate performance. The corpus is partitioned into training (train), development test data (dev) and blind evaluation data (eval), which makes it ideal for machine learning research. A summary of the statistics is shown in Table 3. The number of seizures and their total duration for the blindeval set is not provided to avoid biases towards the dataset. The database consists a variety of seizure types including absence, tonic-clonic and myoclonic. There are two types of annotations available – channel-based and term-based. Term-based annotations are formed by making an aggregate decision for a segment based on the channel-based annotations (Ferrell et al., 2019). We used channel-based annotations to develop the P1 model, which includes channel-based LSTM decoders, and term-based annotations to develop the P2 model.

## Performance Assessment using Objective Evaluation Metrics

Table 4. A comparison of performance on the TUSZ dev set

| Metric | Measure | CNN/LSTM Baseline | P1: Channel-Based LSTM | P2: CNN/LSTM | P3: Heuristic Postprocessor |
| --- | --- | --- | --- | --- | --- |
| OVLP | Sensitivity | 30.83% | 39.46% | 41.16% | 40.29% |
|  | Specificity | 97.10% | 95.20% | 95.29% | 97.56% |
|  | FAs/24 hrs | 6.74 | 11.62 | 11.69 | 5.77 |
| TAES | Sensitivity | 11.33% | 32.57% | 32.87% | 32.59% |
|  | Specificity | 95.58% | 85.48% | 89.28% | 90.72% |
|  | FAs/24 hrs | 7.62 | 27.44 | 20.85 | 17.03 |

The overall seizure detection system uses three distinct types of processing: P1, P2 and a final heuristic postprocessor (P3). A block diagram of the multiphase model is shown in Figure 15 along with the performance of each state of processing. Since the P1 and P2 models are different network designs, averaging posteriors and pooling their information allows detection of a more diverse set of seizure morphologies, building on the strengths of each model. According to the OVLP metric, the multiphase model yields a 40.29% sensitivity with 5.7 FAs per 24 hours compared to the previous CNN/LSTM model with a sensitivity of 30.83% with 6.74 FAs per 24 hours. At the same operating point, according to the TAES metric, multiphase model yields a 32.59% sensitivity with 17.03 FAs compared to the previous CNN/LSTM model (11.33% sensitivity with 7.62 FAs per 24 hours).

Table 5. Performance on the TUSZ blind evaluation set

| Metric | Measure | CNN/LSTM Baseline | P1: Channel-Based LSTM | P2: CNN/LSTM | P3: Heuristic Postprocessor |
| --- | --- | --- | --- | --- | --- |
| OVLP | Sensitivity | 33.11% | 36.39% | 42.02% | 42.96% |
|  | Specificity | 92.54% | 96.55% | 96.09% | 95.53% |
|  | FAs/24 hrs | 19.89 | 8.74 | 10.02 | 11.45 |
| TAES | Sensitivity | 5.01% | 30.97% | 30.27% | 35.55% |
|  | Specificity | 90.43% | 93.05% | 93.87% | 91.79% |
|  | FAs/24 hrs | 19.89 | 13.98 | 12.75 | 17.22 |

Table 6. Performance on the DUSZ blind evaluation set

| Metric | Measure | CNN/LSTM Baseline | P1: Channel-Based LSTM | P2: CNN/LSTM | P3: Heuristic Postprocessor |
| --- | --- | --- | --- | --- | --- |
| OVLP | Sensitivity | 33.71% | 42.32% | 41.75% | 43.75% |
|  | Specificity | 70.72% | 86.93% | 85.71% | 91.01% |
|  | FAs/24 hrs | 40.4 | 14.26 | 16.4 | 9.33 |
| TAES | Sensitivity | 19.77% | 36.47% | 35.46% | 37.13% |
|  | Specificity | 45.46% | 46.43% | 64.57% | 54.03% |
|  | FAs/24 hrs | 43.75 | 33.03 | 22.45 | 26.92 |

These two systems were also evaluated on two different blind evaluation sets: TUSZ and DUSZ. The performance of the two systems is tabulated in Table 5 and Table 6. EEGs from these databases were collected using different instrumentation and environmental conditions. The TUSZ data was collected with several generations of the Natus Medical Incorporated EEG equipment (Natus, 2019) while DUSZ was collected using Nihon Kohden equipment (Nihon Kohden, 2019). These two corpora were selected to evaluate the robustness and reliability of the system. The models were not previously exposed to DUSZ training data. The baseline system’s performance is lower, yielding a very high false alarm rate of 19.89 FAs per 24 hours and 43.75 FAs per 24 hours for a similar level of sensitivity. The multiphase system, on the other hand, maintains an FA rate of 10 while yielding a sensitivity greater than 40%. This demonstrates the robustness of the multiphase system design.

Performance according to the TAES metric shows the extent to which the seizure events are detected. In all three sets, the baseline system shows significant under-detection of the events. On the other hand, multiphase systems tend to maintain sensitivities around the same range but with increased false alarm rates. For example, from Table 5 we can see that OVLP score of the baseline model is ~33% sensitivity with 19.89 FAs per 24 hours. The same operating point evaluated by the TAES metric is 5.01% sensitivity with 19.89 FAs per 24 hours. On the other hand, the multiphase model suffers a decrease in sensitivity by ~7% absolute (42.96% to 35.55%) with an increase in FAs by 6 FAs per 24 hours.

Table 6 shows an extreme case for both models where the baseline system yields a much higher FA rate (approx. 5x). On the other hand, the multiphase system has approximately double the FA rate (e.g., 9.33 vs. 5.7) but with a much higher sensitivity (43.75%). TAES scores for the baseline model suffers from a decrease of  14% in sensitivity (19.77%) at a similar FA rate (43.75) whereas the multiphase model suffers from a 6% decrease in sensitivity (37.13%) with a 3x increase in FA rate (26.92). For a complete view of performance, ROC curves are analyzed next.

## Receiver Operating Characteristic (ROC) Analysis

ROC plots for the baseline system and multiphase system are shown in Figure 28 and Figure 29 for the TUSZ Corpus. In Figure 30, ROC curves are shown for the DUSZ evaluation set. Though performance of all three systems in Figure 28 seems similar, if we

Figure 28. ROC curves on the TUSZ dev set

Figure 29. ROC curves on the TUSZ eval set

focus on the region where FPs are low (e.g., [0,0.2]),  we see that the multiphase system generally outperforms all other systems. These results are confirmed in Table 4.

In Figure 29, we see the difference is more pronounced on the TUSZ blind evaluation set. In Figure 30, we see that the multiphase system is clearly superior over a much wider range of the ROC curve. Since neither of these systems had been previously exposed to

Figure 30. ROC curves on the DUSZ Corpus

DUSZ data, this is a strong indication that the multiphase system generalizes better. These findings are consistent with the tabulated results of Table 4 through Table 6.

ROC curves for the TAES metric are shown in Figure 31 to Figure 33. The TAES metric places more emphasis on the accuracy of segment boundaries. Performance of the baseline model is below the multiphase system for the entire range of the curve. The difference between P2 and P3 is very close throughout the entire FA range. The best operating point is observed around ~35% sensitivity with an FA rate of 10.

This trend is further supported by the results on the blind evaluation sets in Figure 32 and Figure 33. Performance of the multiphase model is relatively low for DUSZ, which suggests that this database consists multiple prolonged isomorphic or subtle events. The

Figure 31. ROC curves on the TUSZ dev set using the TAES metric

Figure 32. ROC curves on the TUSZ eval set using the TAES metric

recognition systems are detecting prolonged events as multiple short events. However, the multiphase model consistently outperforms the baseline system.

## Segmentation Analysis

Although the TAES metric can provide a gross approximation of the amount of overlap between the reference and hypotheses events, certain aspects of this metric limit its ability to precisely characterize differences in performance. For instance, the TAES metric penalizes multiple overlapping events in a hypothesis as miss events. Once the duration of the detected event exceeds the reference event, the additional duration of the hypothesis event is ignored. Also, our miss rate or FA rate cannot exceed a value of 1 because the metric calculates per event scores.

Figure 33. ROC curves on the DUSZ eval set using the TAES metric

Accurate determination of onset and offset behavior of a seizure event pose different challenges and bear closer examination. The TAES metric, by design, does not clearly analyze the amount of over/under-detections of hypothesis events at the event boundaries. To gain better insight into the differences between these algorithms, we need alternative approaches to the analysis of segmentation performance.

Figure 34. Baseline model segmentation for the TUSZ dev set is shown. Over-detection is shown on the left while under-detection is shown on the right. Onset boundary behavior is shown in red while offset boundary behavior is shown in green.

We will visualize the performance of the systems as histograms where the onset and offset of an event will be analyzed independently. We will call detection an “over-detection” if it falls outside the boundary of a seizure event (reference annotation) and an “under-detection” if it falls inside the reference annotation boundary. Figure 34 shows an example of this analysis. The first row of the histogram shows performance based on the onset and offset boundaries. This row is the aggregate performance of detected events based on the detected event’s distance with respect to the duration of the event.

For example, let’s consider a reference event with a duration of 10 seconds. If a detected event’s onset is observed outside the reference segment’s onset by one second, the over-detection value is calculated as 0.1 (distance from the onset mark / duration of the reference segment). Rows 2 and 3 separate performance into onsets and offsets. Over- and under-detections are separated in the left and right side of the histograms respectively. For example, row 2 and column 1 indicates the over-detection for the onset boundary and row 3 and column 1 indicates the over-detection of the offset boundary. Finally, total under and over-detections are shown numerically for each model in the last (4th) row.

Analysis of the segment boundaries for the baseline system is shown in Figure 34. It clearly indicates that the model tends to detect very small portions of the seizures with only 22 over-detected and 354 under-detected event boundaries. Overall, the model is 32% off in terms of onset boundary detections and 23% off in terms of offset boundary detections. This is clear from the first row in Figure 34, where the mean values are -0.32 and -0.23 respectively. The smaller standard deviation values of 0.22 and 0.34 for onset and offset boundaries suggest that most of these hypothesis events are closer to these mean values. Higher mean value suggest that the event fall farther from the event boundaries. Specifically, under-detection of the model is far from the edge of the events which can be observed from the right columns of row 2 and 3 of the plot. The under-detected events of the model have a mean value of -0.33 and -0.29 from the onset and offset boundaries (with small standard deviation of 0.21 and 0.2) respectively. This suggests that the model detects a very small portion of the event when a seizure event is present, and the detections seem to be around the middle of the event segment (far from the segment boundaries).

Figure 35 shows performance of the baseline model on the TUSZ evaluation set. The model yields 308 under-detected seizure events. These under-detected segments are off by 33% for onsets and 39% for offsets. The variance of these distributions are 20% and 25%, which are lower than the variances shown in Figure 34 for the dev set, suggesting the behavior is even more conservative in detecting seizure events.

Figure 35. Baseline model segmentation for the TUSZ eval set

This trend is a bit different for the final blind set, DUSZ, where the baseline model manages to over-detect 98 and under-detect 353 seizure events. This is shown in Figure 36. The seizure events which are over-detections have mean values of 0.47 and 0.62 with a variance of 0.79 and 0.90. This suggests most detected events are off by 80%-90% of the total duration of the event. However, the higher variance suggests that these detections are separated from the mean of the hypothesis boundaries. On the other hand, under-detections have the mean values of  25% for the onset and 26% for the offset of the segment boundaries.

Figure 36. Baseline model segmentation for DUSZ set

Since P2 is designed to optimize the segment boundaries, we expect it to show better performance. Figure 37 shows performance of the P2 model on the dev set. This model seems to detect over- and under-detected events comparably. The total number of under-detections are 295 and over-detections are 269. However, the mean over-detection performance of this model is significantly larger (e.g., more than 200% of the duration of seizure events). The variance of the model onset over-detection is also very high which suggests that there is a significant spread in the errors. Onset boundary over-detections, shown in row 2 column 1 in red, have a maximum mean (4.08) and variance (14.81) suggesting that some of the events are detected too far in advance. The under-detections on the other hand are very close to the edges of the reference events (row 2 and 3 of column 2) yielding mean values of only 0.14 and 0.16 with standard deviation of only 0.16 and 0.18 for the onset and offset boundaries respectively. The reasons for the poor performance of the

Figure 37. P2 model segmentation for the TUSZ dev set

model for over-detections is the detection of extreme duration events such as very short and very long events.

Figure 38 shows performance of the P2 model on the TUSZ evaluation set. The number of over- and under-detected events are 129 and 319 respectively. Overall, the means of the onset and offset boundary detections are off by 0.14 and 0.01. For the onset and offset events separately (row 2 and 3), the mean values are in-between 14-20% of the event duration with a small standard deviation of 0.17 and 0.16 for the under detection (column 2) and 0.20 and 0.40 for the over-detection (column 1). This suggests that P2 model detects seizure segment boundaries very close to the actual reference boundaries.

Finally, we evaluate performance of the P2 model on the second blind set, DUSZ, in Figure 39. The performance on the DUSZ set shows similar trend observed in the datasets. The onset over-detections are off by a mean value of 0.62 from the reference event’s start time with a high variance. Mean values of all the other over- and under-detections are very close to the

Figure 38. P2 model segmentation for the TUSZ eval set

segment boundaries (0.18 for offset over-detection; and 0.14 and 0.13 for the under-detections for the onset and offsets respectively) with a very low standard deviation. The total number of over and under-detections are very close – 266 and 284 respectively. The overall mean of the onset/offset detections shown in row one (in blue) are well centered around the zero point, which is consistent throughout all the previous datasets.

Figure 39. P2 model segmentation for the DUSZ eval set

Causes of Poor Segmentation

It is important to determine the underlying causes of over- and under-detections. The potential reasons for the drastic differences lie within the annotation process/standards and the duration of the event. For example, if a seizure 5 seconds in duration has an estimated event boundary that is off by 1 second, then the performance is penalized by 20%. If this was an event 100 seconds in duration, the event is penalized by only 1%. For this reason, it is important to incorporate the duration of the detected events into the evaluation process. In this section, we analyze the detection rates of the target events within specific durations and their sensitivities.

The seizure event durations are separated into 5 different sets: (1) less than 10 seconds, (2) 10-30 seconds, (3) 30-120 seconds, (4) 120-300 seconds and (5) 300 seconds and above. Other error measures such as FN and FP are not incorporated into this analysis because the segmentation quality is only analyzed for the detected events.

Performance of the baseline model and the P2 model on the seizure events based on their duration can be seen in Table 7 and Table 8 respectively. Note that the baseline model demonstrates poor performance on shorter events. Similarly, the performance of the model on extremely long seizure events, shown in the last row of these tables, is relatively low as well. Comparing these sensitivities with the P2 model’s performance shows that both models have similar tendencies to detect poorly on shorter seizure events. On the other hand, the P2 model demonstrates much higher performances on the longer duration seizure events. For the subset of seizures with duration greater than 300 seconds, P2 performs at 51.72% on the dev set compared to baseline model’s performance of 37.93%. On the TUSZ evaluation set, the P2 model’s performance is 83.33% compared to the baseline model’s performance of 54.54%. On the DUSZ set, the P2 model’s performance is 69.23% compared to the baseline model’s performance of 53.84%.

It is important to notice that performance of the P2 model on short duration seizure events for the TUSZ dev set (27.82%) contributes heavily to the segment over-detection errors observed in Figure 37. Similarly, longer events are usually slowly evolving seizure events which contribute to the uncertainty in the marking of onset and offset of the seizure events which is discussed in Chapter 3. Seizure detection model is expected to perform poorly on these subtle events due to uncertainties involved with the slow isomorphic borderline seizures.

Table 7. Sensitivity of the baseline model as a function of event duration

| Score/Duration (sec.) | TUSZ Dev Sens. | TUSZ Eval Sens. | DUSZ Sens. |
| --- | --- | --- | --- |
| 0 – 10 | 10.71% | 9.75% | 0.00% |
| 10 - 30 | 28.49% | 16.83% | 15.13% |
| 30 - 120 | 32.09% | 45.87% | 34.76% |
| 120 - 300 | 56.25% | 43.39% | 59.30% |
| > 300 | 37.93% | 54.54% | 53.84% |

Table 8. Sensitivity of the P2 model

| Score/Duration (sec.) | TUSZ Dev Sens. | TUSZ Eval Sens. | DUSZ Sens. |
| --- | --- | --- | --- |
| 0 – 10 | 27.82% | 0.00% | 0.00% |
| 10 - 30 | 27.31% | 14.28% | 16.44% |
| 30 - 120 | 53.42% | 58.62% | 44.46% |
| 120 - 300 | 48.57% | 69.23% | 69.76% |
| > 300 | 51.72% | 83.33% | 69.23% |

Higher seizure event sensitivity within this set of seizures also contributes to the increased segmentation error rates of the P2 model. For example, a 1,000-second seizure detected for only 100 seconds or in clusters of 100 seconds adds significantly to the miss rate. Additionally, the higher sensitivity of the P2 model suggests that the system tends to over-detect the events. Slowly evolving isomorphic events pose a real challenge for the system.

## Seizure Boundary Detections Within Segment Guard Bands

Finally, we evaluate the segmentation performance based on the margin within which the seizure boundaries are estimated. We calculate number of seizure boundaries closer to the reference boundary marks. Quantitatively, we measure the distance from which the hypothesis boundaries are detected and check if that distance falls within a specific range, which we refer to as a guard band. A Guard Band is defined as the acceptable distance from the hypothesis to the reference boundary. For instance, a guard band of +/-1 indicates that a detection falls within a margin of 1 second of the reference annotation. This measure calculates the number of seizures detected in close proximity to the reference annotation.

We evaluate performance of the detected events based on 6 different values of guard bands, as shown in Figure 40. The main comparison presented is between the baseline model and P2 (blue vs. orange). Not surprisingly, the bar plots show a clear increase in performance as the guard band duration is increased. But the rate at which the performance increases for each model is drastically different. P2 consistently outperforms the baseline model in all cases. For example, for a guard band of 2 seconds on the dev set, the P2 model detects 132 events compared to only 40 events for the baseline model. This difference becomes even more dramatic for the evaluation set where the P2 model detects 106 events as opposed to only 9 events for the baseline system. This trend holds for all other values of the guard bands. Interestingly, differences between the models are not as great on the DUSZ data.

## Analysis of the P2 Kernels Associated with the History Features

As described in Chapter 4, P2 utilizes P1 model’s posteriors and their derived augmented features to learn its deficiencies for seizure detection and segmentation. In the P2 model, each feature dimension of the augmented feature vector is assigned to a channel in a CNN. Since each CNN channel is processed independently during the first layer of the model, we can visualize their feature maps to observe what a trained kernel has learned. The total number of channels for P2 is 32 which includes 26 LFCC-based features and

Figure 40. Event detections within the guard bands of the reference annotation boundaries

6 posterior-derived features. Therefore, there are 32 types of kernels learning CNN features independently. In this section, we visualize the feature maps generated by the CNN kernels.

However, prior to visualizing such data, we focus on a few seizures that were not learned by the same CNN-LSTM model designs when only LFCC features were used. Two sets of experiments were conducted for this study. The first set of models were only trained using conventional 26-dimensional LFCC feature vectors. The second set used the 32-dimensional augmented feature vector which is used in our P2 model. The model with only LFCC features performs at a sensitivity of 19.17% with 11.9 FAs per 24 hours whereas the P2 model performs at a sensitivity of 41.16% within the same FA range. For the visualization purposes we will use examples of the seizure events which were only detected by the P2 model and see how posterior based kernels behave on such seizure events.

After the P2 model is optimized, we pass two different examples of seizure events through the model. These examples were the seizure events that were only detected when posterior features were used. Feature maps generated by posterior kernels for the first seizure example are shown in Figure 41 and Figure 42. These generalized seizure morphologies last for about 7-8 seconds and are recurrent every 30-40 seconds suggesting that patient was suffering a status epilepticus at the time of recording. The spectrogram-like plots from Figure 41 contain kernel outputs where each kernel is associated with the index of the feature dimension. Kernels are abbreviated with letter K which is followed by an index of the feature dimension. For example, K0 indicates the kernel 0 associated with feature 0 which is the energy of the signal. Kernel K1 is associated with the first cepstral

Figure 41. Layer-1 CNN kernels for recurring seizures (during the event)

coefficient. Similarly, the last six dimensions (from 26 to 31) are associated with the posterior-derived history features. It is clear from Figure 41 that both types of kernels, the ones associated with the LFCC features and the ones with the posterior features, learn seizure morphologies quite well and they also align well with the actual seizure onset and offset marks. This is apparent by examining the vertical strips of feature maps created by each kernel. These vertical strips can be observed in the feature maps from sample 165 to 1320.

Figure 42 shows the same recurring seizure events with their feature maps using a 60-second window. There are two seizure events in this plot. The onset and offset are indicated by the red and green arrows respectively. The signal waveform and their feature maps for spectral features (K0-K2), posteriors (K26 and K27), onset/offset history features (K28-K31) are well aligned with both seizure events. There is a clear difference between the background and seizure events. The transformed feature maps show a gradual increase in the probability of the seizure (viewed as wider vertical strips) which

Figure 42. Layer-1 CNN kernels for recurring seizures (between the event)

is consistent with the posterior values observed in the hypothesis generated by the P1 model. It is important to note that such seizures are easy to segment visually because there are clear abrupt changes in the morphologies.

The seizure morphology shown in Figure 43 represents a subtle seizure which poses challenge for annotators as well as seizure detection systems. This plot is made on the same scale (60 seconds) as Figure 42. This seizure is observed on only 4 EEG channels and very slowly transforms to a seizure (the onset is represented by red arrows) from a background state. The feature maps shown in Figure 43 show no apparent patterns learned by their LFCC kernels (rows K0-K2). Although, only the first three dimensions of the feature vector are shown, this is consistent for all LFCC features. In contrast, posterior kernels K26-K30 show a clear gradual change in their feature maps.

It is important to notice the misalignments created by the posterior kernels. Such misalignments convey the confusion inherent in the P1 model. Compared to the seizures observed in Figure 42, strips observed from the feature maps created by the onset versus offset kernels (e.g., K28 versus K29) in Figure 43 are sparse (focal to only 4 channels) and dispersed in the temporal domain. These misaligned feature maps behave as intermediate features of the network which forces the following layers to further fine tune the segment boundaries. Such misalignments are observed during subtle seizures.

The results presented in this chapter validate our hypothesis that the posteriors and their derived features carry important temporal information and can be exploited to deliver improved segmentation performance. Such a design alleviates the need for complicated models that focus on long-term dependencies. When the variance of event durations is high, embedding the posterior information into a feature vector tends to overcome the issues associated with long-term dependencies. Additionally, the multiphase model tends to fine tune the segment boundaries of the seizures by learning the deficiencies of the earlier stages of the models.

Figure 43. Layer-1 CNN kernels for subtle seizures

FUTURE PLANS

The focus of this dissertation proposal is the underappreciated problem of segmentation of seizure events. This can be directly attributed to the difficulties associated with the annotation process and the poor performance of automated seizure detection algorithms. We separate the seizure detection problem into two phases. In the first phase, we develop a channel-specific model to learn epileptiform activity associated with seizures. New features are derived based on event posteriors and added to the traditional feature vector. These posterior features contain information about previously detected events and the model’s confidence of a detected event.

These augmented features are used in the second phase to integrate spatial and temporal context. We show that the P2 model is able to improve the seizure detection performance and fine tune the segment boundaries detected by the P1 model. This proposed method is able to achieve performance of 40.29% sensitivity with 5.77 false alarms / 24 hours compared to baseline model’s performance of 30.83% sensitivity with 6.74 false alarms / 24 hours. This proposed method detects 106 segment boundaries within a two second margin of error compared to 9 segments for the baseline model.

## Remaining Research Tasks

Models which use posterior derived features from the P1 model perform at much higher sensitivities (~40%) compared to models without these features (~19%). Feature maps of the CNN kernels associated with the posterior features show that the kernels are able to learn history about the previously detected seizures. The activation patterns in the network are spread far apart for a slowly evolving (subtle) seizure and stay closely clustered for the easier seizures. We will explore how the remainder of the network contributes to better segmentation. A simple diagnostic test can be performed by checking the importance of features. Fisher et al. (2018) studies the importance of features for neural network algorithms. The authors introduce a permutation feature importance algorithm in which a trained model is fed features with shuffled indices.

Instead of permuting all features, we will evaluate the performance of a subset of features which include onset/offset features and posteriors. By simply ignoring these features or changing their indices and plotting the corresponding feature maps, we will gain insight into what the remainder of the network is learning. This is a preferred option to training separate models for different sets of features (Jean-Paul et al., 2019) because the decoding process is much faster than training.

From Figure 40, we can observe that ~250 segment boundaries are detected within a five-second margin of error. These models will be optimized using a 10-second context around the detected boundary. We will first develop a crude model that extracts the energy of the signal from each second of data and estimates the maximum difference in energy. This model will serve as a baseline model. We will train LSTM models on the original data to find the optimal threshold for this differential energy term. These models will be used as a postprocessing step after a seizure has been detected.

Models developed in this study are trained using a sliding window approach. The window size is a fixed value (typically around 10 seconds) which hinders a model’s ability to incorporate the wider context of a seizure event (e.g., a seizure that lasts for minutes). For example, the P2 model operates on a window size of 11 seconds cannot learn the evolution of a 300-second seizure. We will implement an off-line seizure detection algorithm which can be trained on an entire seizure segment regardless of its duration. This will help the system model the complete evolution of a seizure from its onset until the offset. This model will be implemented as a postprocessing step and is expected to reduce the false alarm rate further.

Finally, the seizure events which are detected by the multiphase model but segmented very poorly convey some important information about the deficiencies of the model. We will investigate the signal morphologies, seizure types, and clinical correlates (information collected from the report) during the recording for these events. We will investigate if this information correlates with a patient’s underlying pathologies (e.g., kidney or liver failure).

## Outline of Future Plans

Figure 44 shows a Gantt chart for the remaining part of the dissertation research. The dissertation proposal material constitutes about 60% of the final dissertation. The remaining work can be broken down into three major activities: error analysis, experimentation and writing. We expect the final dissertation document to be completed by December 2020 with the defense occurring in early Spring 2021.

Figure 44. Dissertation completion plan

## Publications

Below we list published work and publications under development.

### Work Published or Accepted for Publication

Book Chapter(s):

- Golmohammadi, M., Shah, V., Obeid, I., & Picone, J. (2020). Deep Learning Approaches for Automatic Seizure Detection from Scalp Electroencephalograms. In I. Obeid, I. Selesnick, & J. Picone (Eds.), Signal Processing in Medicine and Biology: Emerging Trends in Research and Applications (1st ed., pp. 233–274). New York, New York, USA: Springer. https://doi.org/10.1007/978-3-030-36844-9.

Refereed Journal Publication(s):

- Shah, V., von Weltin, E., Lopez, S., McHugh, J. R., Veloso, L., Golmohammadi, M., … Picone, J. (2018). The Temple University Hospital Seizure Detection Corpus. Frontiers in Neuroinformatics, 12, 1–6. https://doi.org/10.3389/fninf.2018.00083.

Peer-Reviewed Conference Paper(s):

- Golmohammadi, M., Ziyabari, S., Shah, V., Obeid, I., & Picone, J. (2018). Deep Architectures for Spatio-Temporal Modeling: Automated Seizure Detection in Scalp EEGs. In Proceedings of the IEEE International Conference on Machine Learning and Applications (ICMLA) (pp. 745–750). Orlando, Florida, USA. https://doi.org/10.1109/ICMLA.2018.00118.

- Shah, V., Golmohammadi, M., Ziyabari, S., von Weltin, E., Obeid, I., & Picone, J. (2017). Optimizing Channel Selection for Seizure Detection. In I. Obeid & J. Picone (Eds.), Proceedings of the IEEE Signal Processing in Medicine and Biology Symposium (pp. 1–5). Philadelphia, Pennsylvania, USA: IEEE. https://doi.org/10.1109/SPMB.2017.8257019.

- Golmohammadi, M., Ziyabari, S., Shah, V., Obeid, I., & Picone, J. (2017). Gated Recurrent Networks for Seizure Detection. In I. Obeid & J. Picone (Eds.), Proceedings of the IEEE Signal Processing in Medicine and Biology Symposium (pp. 1–5). Philadelphia, Pennsylvania, USA: IEEE. https://doi.org/10.1109/SPMB.2017.8257020.

- von Weltin, E., Ahsan, T., Shah, V., Jamshed, D., Golmohammadi, M., Obeid, I., & Picone, J. (2017). Electroencephalographic Slowing: A Primary Source of Error in Automatic Seizure Detection. In I. Obeid & J. Picone (Eds.), Proceedings of the IEEE Signal Processing in Medicine and Biology Symposium (pp. 1–5). Philadelphia, Pennsylvania, USA: IEEE. https://doi.org/10.1109/SPMB.2017.8257018.

Peer-Reviewed Conference Abstracts:

- Shah, V., Anstotz, R., Obeid, I., & Picone, J. (2018). Adapting an Automatic Speech Recognition System to Event Classification of Electroencephalograms. In I. Obeid & J. Picone (Eds.), Proceedings of the IEEE Signal Processing in Medicine and Biology Symposium (SPMB) (p. 1). Philadelphia, Pennsylvania, USA. https://doi.org/10.1109/SPMB.2018.8615625.

Other:

- Lin, R., Marquez, D., Jacobson, M., Castaldi, H., Buckman, S., Shah, V., & Picone, J. (2020). Accuracy of Automated Machine Learning Software in Identifying EEGs with Prolonged Seizures. In Annual Meeting of the American Academy of Neurology (AAN) (p. P6.002). Toronto, Canada. https://www.isip.piconepress.com/publications/conference_presentations/2020/aan/prolonged_seizures/.

- Ziyabari, S., Shah, V., Obeid, I., & Picone, J. (2018). Curriculum Learning Based on Sample Selection Using Posterior Probabilities. In 26th Conference on Intelligent Systems for Molecular Biology (p. 1). Chicago, Illinois, USA. https://www.isip.piconepress.com/publications/conference_presentations/2018/ismb/cl/.

### Publications Under Development

Book Chapter(s):

- Shah, V., Golmohammadi, M., Obeid, I., & Picone, J. (2021). Objective Evaluation Metrics for Automatic Classification of EEG Events. In I. Obeid, I. Selesnick, & J. Picone (Eds.), Signal Processing in Medicine and Biology: Emerging Trends in Research and Applications (1st ed., pp. 1–26). New York City, New York, USA: Spring 2021.

Refereed Journal Publication(s):

- Shah, V., von Weltin, E., Ahsan, T., Obeid, I., & Picone, J. (2021). On the Use of Non-Experts for Generation of High-Quality Annotations of Seizure Events. Clinical EEG and Neuroscience.

- Shah, V., Campbell, C., Obeid, I., & Picone, J. (2021). Improved Spatio-Temporal Modeling in Automated Seizure Detection using Channel-Dependent Posteriors. Neurocomputing.

- Shah, V., Obeid, I., & Picone, J. (2021) Artifact Reduction Techniques for Improving the Performance of Seizure Detection Software. Informatics in Medicine Unlocked.

Peer-Reviewed Conference Paper(s):

- Shah, V., Iskander, R., Roy, Y., Obeid, I., & Picone, J. (2020). Validation of Temporal Scoring Metrics for Automated Seizure Detection. Proceedings of the IEEE Signal Processing in Medicine and Biology Symposium (SPMB), December 2020.

- Shah, V., Obeid, I., & Picone, J. (2021) Analysis of Spectral Features for EEG Seizure Detection. Proceedings of the IEEE Signal Processing in Medicine and Biology Symposium (SPMB), December 2021.

# REFERENCES

Albuja AC, Murphy PB. Absence Seizure. [Updated 2020 Jul 1]. In: StatPearls [Internet]. Treasure Island (FL): StatPearls Publishing; 2020 Jan-. https://www.ncbi.nlm.nih.gov/books/NBK499867/.

American Academy of Neurology (2020). Policy & Guidelines for EPILEPSY. Retrieved July 1, 2020, from https://www.aan.com/Guidelines/home/ByTopic?topicId=23.

American Clinical Neurophysiology Society. (2012). ACNS Standardized ICU EEG Nomenclature v. 2012. Retrieved December 4, 2018, from https://www.acns.org/pdf/guidelines/Guideline-14-pocket-version.pdf.

Banchs, R., Bonafonte, A., & Perez, J. (2006). Acceptance Testing of a Spoken Language Translation System. In Proceedings of the International Conference on Language Resources and Evaluation (LREC) (p. 106). Genoa, Italy. http://www.lrec-conf.org/proceedings/lrec2006/pdf/60_pdf.pdf.

Benbadis, S. (2014). EEG Training for Neurologists Is Inadequate. Retrieved July 1, 2020, from Epilepsy Foundation website: https://www.epilepsy.com/article/2014/12/eeg-training-neurologists-inadequate.

Benbadis, S. R. (2010). The tragedy of over-read EEGs and wrong diagnoses of epilepsy. Expert Review of Neurotherapeutics, 10(3), 343–346. https://doi.org/10.1586/ern.09.157.

Brain Electrical Source Analysis (BESA Research 7.0). (2020). Retrieved July 1, 2020, from https://www.besa.de/.

Brock, A., Lim, T., Ritchie, J., & Weston, N. (2017). FreezeOut: Accelerate Training by Progressively Freezing Layers. ArXiv.Org. https://arxiv.org/abs/1706.04983.

Capp, N., Krome, E., Obeid, I., & Picone, J. (2017). Facilitating the Annotation of Seizure Events Through an Extensible Visualization Tool. In I. Obeid & J. Picone (Eds.), Proceedings of the IEEE Signal Processing in Medicine and Biology Symposium (p. 1). https://doi.org/10.1109/SPMB.2017.8257043.

Chapman, W. W., Bridewell, W., Hanbury, P., Cooper, G. F., & Buchanan, B. G. (2001). A simple algorithm for identifying negated findings and diseases in discharge summaries. Journal of Biomedical Informatics, 34(5), 301–310. https://doi.org/10.1006/jbin.2001.1029.

Chong, D. J., & Hirsch, L. J. (2005). Which EEG Patterns Warrant Treatment in the Critically Ill? Reviewing the Evidence for Treatment of Periodic Epileptiform Discharges and Related Patterns. Journal of Clinical Neurophysiology, 22(2), 79–91. https://doi.org/10.1097/01.WNP.0000158699.78529.AF.

Darwin, C. J., Brungart, D. S., & Simpson, B. D. (2003). Effects of fundamental frequency and vocal-tract length changes on attention to one of two simultaneous talkers. Journal of the Acoustical Society of America, 114(5), 2913–2922. https://doi.org/10.1121/1.1616924.

Dieleman, S., De Fauw, J., & Kavukcuoglu, K. (2016). Exploiting Cyclic Symmetry in Convolutional Neural Networks. In arXiv. https://arxiv.org/pdf/1602.02660.pdf.

Encevis Solutions. (2020). NeuroTrend: Trending for continuous EEG in critical care. Retrieved July 1, 2020 from https://www.encevis.com/solutions/eeg-trending-for-icu/.

Ferrell, S., Mathew, V., Ahsan, T., & Picone, J. (2020). The Temple University Hospital EEG Corpus: Electrode Location and Channel Labels. Philadelphia, Pennsylvania, USA. https://www.isip.piconepress.com/publications/reports/2020/tuh_eeg/electrodes.

Fiscus, J. G. (2017). Speech Recognition Scoring Toolkit. https://doi.org/https://github.com/usnistgov/SCTK.

Fiscus, J., Ajot, J., Garofolo, J., & Doddingtion, G. (2007). Results of the 2006 Spoken Term Detection Evaluation. In Proceedings of the ACM Special Interest Group on Information Retrieval (SIGIR) Workshop “Searching Spontaneous Conversational Speech” (pp. 45–50). Amsterdam, Netherlands. https://www.nist.gov/publications/results-2006-spoken-term-detection-evaluation.

Fisher, A., Rudin, C., & Dominici, F. (2018). All Models are Wrong, but Many are Useful: Learning a Variable’s Importance by Studying an Entire Class of Prediction Models Simultaneously. Journal of Machine Learning Research, 20(177), 1–81. https://arxiv.org/abs/1801.01489.

Golmohammadi, M., Ziyabari, S., Shah, V., Obeid, I., & Picone, J. (2018). Deep Architectures for Spatio-Temporal Modeling: Automated Seizure Detection in Scalp EEGs. In Proceedings of the IEEE International Conference on Machine Learning and Applications (ICMLA) (pp. 745–750). Orlando, Florida, USA. https://doi.org/10.1109/ICMLA.2018.00118.

Gotman, J., Flanagan, D., Zhang, J., & Rosenblatt, B. (1997). Automatic seizure detection in the newborn: Methods and initial evaluation. Electroencephalography and Clinical Neurophysiology, 103(3), 356–362. https://doi.org/10.1016/S0013-4694(97)00003-9.

Gross, A., Lopez, S., Obeid, I., & Picone, J. (2016). Statistical Comparison of REF vs. LE Referenced EEG Signals. In Temple University College of Engineering Research Experience for Undergraduates Conference (p. 1). Philadelphia, Pennsylvania, USA. https://www.isip.piconepress.com/publications/unpublished/conferences/2016/summer_of_code/features/.

Grozea, C., Voinescu, C. D., & Fazli, S. (2011). Bristle-sensors - Low-cost flexible passive dry EEG electrodes for neurofeedback and BCI applications. In Journal of Neural Engineering. https://doi.org/10.1088/1741-2560/8/2/025008.

Haider, H. A., Esteller, R. D., Hahn, C. B., Westover, M. J., Halford, J. W., Lee, J. M., & LaRoche, S. (2016). Sensitivity of quantitative EEG for seizure identification in the intensive care unit. Neurology, 87(9), 935–944. https://doi.org/10.1212/WNL.0000000000003034.

Hajian-Tilaki, K. (2013). Receiver Operating Characteristic (ROC) Curve Analysis for Medical Diagnostic Test Evaluation. Caspian Journal of Internal Medicine, 4(2), 627–635. http://www.ncbi.nlm.nih.gov/pmc/articles/PMC3755824/.

Halford, J. J., Shiau, D., Desrochers, J. A., Kolls, B. J., Dean, B. C., Waters, C. G., … LaRoche, S. M. (2015). Inter-Rater Agreement on Identification of Electrographic Seizures and Periodic Discharges in ICU EEG Recordings. Clinical Neurophysiology: Official Journal of the International Federation of Clinical Neurophysiology, 126(9), 1661–1669. https://doi.org/10.1016/j.clinph.2014.11.008.

Harati, A., Golmohammadi, M., Lopez, S., Obeid, I., & Picone, J. (2015). Improved EEG Event Classification Using Differential Energy. In I. Obeid & J. Picone (Eds.), Proceedings of the IEEE Signal Processing in Medicine and Biology Symposium (pp. 1–4). Philadelphia, Pennsylvania, USA. https://doi.org/10.1109/SPMB.2015.7405421.

Hirsch L., J., Laroche S., M., Gaspard N., T., Gerard E., F., Svoronos A., B., Herman S., W., … Drislane F., W. (2013). American Clinical Neurophysiology Society’s Standardized Critical Care EEG Terminology: 2012 version. Journal of Clinical Neurophysiology, 30(1), 1–27. https://doi.org/10.1097/WNP.0b013e3182784729.

Hirsch, L. J. (2010). Urgent Continuous EEG (cEEG) Monitoring Leads to Changes in Treatment in Half of Cases. Epilepsy Currents, 10(4), 82–85. https://doi.org/10.1111/j.1535-7511.2010.01364.x.

Hochreiter, S., & Schmidhuber, J. (1997). Long short-term memory. Neural Computation, 9(8), 1735–1780. https://doi.org/10.1162/neco.1997.9.8.1735.

Hosseini, M.-P., Hajisami, A., & Pompili, D. (2016). Real-Time Epileptic Seizure Detection from EEG Signals via Random Subspace Ensemble Learning. In Proceedings of the IEEE International Conference on Autonomic Computing (ICAC) (pp. 209–218). Wurzburg, Germany. https://doi.org/10.1109/ICAC.2016.57.

Ian Goodfellow, Bengio, Y., & Courville, A. (2016). Deep Learning. Nature Methods (1st ed.). Cambridge, Massachusetts, USA: MIT Press. https://mitpress.mit.edu/books/deep-learning.

Ioffe, S., & Szegedy, C. (2015). Batch Normalization: Accelerating Deep Network Training by Reducing Internal Covariate Shift. In Proceedings of the International Conference on Machine Learning (ICML) (pp. 448–456). Lille, France. https://arxiv.org/abs/1502.03167.

Jaritz, M., de Charette, R., Wirbel, E., Perrotton, X., & Nashashibi, F. (2018). Sparse and Dense Data with CNNs: Depth Completion and Semantic Segmentation. ArXiv. Retrieved from https://arxiv.org/abs/1808.00769.

Jean-Paul, S., Elseify, T., Obeid, I., & Picone, J. (2019). Issues in the Reproducibility of Deep Learning Results. In I. Obeid & J. Picone (Eds.), IEEE Signal Processing in Medicine and Biology Symposium (SPMB) (pp. 1–4). Philadelphia, Pennsylvania, USA: IEEE. https://doi.org/10.1109/SPMB47826.2019.9037840.

Jeremy Jordan. (2017). Convolutional neural networks. Retrieved July 1, 2020, from https://www.jeremyjordan.me/convolutional-neural-networks/.

Jing, J., D’Angremont, E., Zafar, S., Rosenthal, E. S., Tabaeizadeh, M., Ebrahim, S., … M. Brandon Westover. (2018). Rapid Annotation of Seizures and Interictal-ictal Continuum EEG patterns. In Annual International Conference of the IEEE Engineering in Medicine and Biology Society (EMBC). Honolulu, Hawaii, USA. https://doi.org/10.1109/EMBC.2018.8513059.

Kesavadas C, Thomas B. Clinical applications of functional MRI in epilepsy. Indian J Radiol Imaging 2008;18:210-7 retrieved July 25, 2020 from http://www.ijri.org/text.asp?2008/18/3/210/41829.

Klatchko, A., Raviv, G., Webber, W., & Lesser, R. (1998). Enhancing the detection of seizures with a clustering algorithm. Electroencephalography and Clinical Neurophysiology, 106(1), 52–63. https://doi.org/10.1016/S0013-4694(97)00092-8.

Knowles, D., & Ghahramani, Z. (2007). Infinite Sparse Factor Analysis and Infinite Independent Components Analysis. In M. Davies, C. James, S. Abdallah, & M. Plumbley (Eds.), Independent Component Analysis and Signal Separation: Proceedings of the 7th International Conference on Independent Component Analysis and Signal Separation (pp. 381–388). Berlin, Germany: Springer Berlin Heidelberg. https://doi.org/10.1007/978-3-540-74494-8_48.

Wyllie, E. (2015). Wyllie’s treatment of epilepsy: principles and practice. (E. Wyllie, B. Gidal, H. Goodkin, T. Loddenkemper, & J. Sirven, Eds.), Wolters Kluwer (6th ed.). China: Wolters Kluwer. https://doi.org/10.1016/j.yebeh.2015.08.030

Krauss, G. L., & Fisher, R. S. (2011). The Johns Hopkins Atlas of Digital EEG: An Interactive Training Guide (2nd ed.). Baltimore, Maryland, USA: Johns Hopkins University Press. https://www.amazon.com/Johns-Hopkins-Atlas-Digital-EEG/dp/0801897335.

Kubota, Y., Nakamoto, H., Egawa, S., & Kawamata, T. (2018). Continuous EEG monitoring in ICU. Journal of Intensive Care, 6(1), 39. https://doi.org/10.1186/s40560-018-0310-z.

Lasitha S. Vidyaratne, & Khan M. Iftekharuddin. (2017). Real-Time Epileptic Seizure Detection Using EEG. IEEE Transactions on Neural Systems and Rehabilitation Engineering, 25(11), 2146–2156. https://doi.org/10.1109/TNSRE.2017.2697920.

Liu, J., Dai, T., Elster, T., Sahgal, V., Brown, R., & Yue, G. (2000). Simultaneous measurement of human joint force, surface electromyograms, and functional MRI-measured brain activation. Journal of Neuroscience Methods, 101(1), 49–57. https://doi.org/10.1016/S0165-0270(00)00252-1.

Lee, H., Grosse, R., Ranganath, R., & Ng, A. Y. (2009). Convolutional Deep Belief Networks for Scalable Unsupervised Learning of Hierarchical Representations. In International Conference on Machine Learning (ICML) (pp. 609–616). Montreal, Canada. https://doi.org/10.1145/1553374.1553453.

Lopez, S. (2017). Automated Identification of Abnormal Adult Electroencephalograms. Temple University. https://www.isip.piconepress.com/publications/ms_theses/2017/abnormal/thesis/.

Lopez, S., Golmohammadi, M., Obeid, I., & Picone, J. (2016). An analysis of two common reference points for EEGs. In I. Obeid & J. Picone (Eds.), Proceedings of the IEEE Signal Processing in Medicine and Biology Symposium (pp. 1–4). Philadelphia, Pennsylvania, USA. https://doi.org/10.1109/SPMB.2016.7846854.

Nuwer, M. (1997). Assessment of digital EEG, quantitative EEG, and EEG brain mapping: Report of the American Academy of Neurology and the American Clinical Neurophysiology Society. Neurology, 49(1), 277–292. https://doi.org/10.1212/WNL.49.1.277.

Martin, A., Doddington, G., Kamm, T., Ordowski, M., & Przybocki, M. (1997). The DET curve in assessment of detection task performance. In Proceedings of the European Conference on Speech Communication and Technology (Eurospeech) (pp. 1895–1898). Rhodes, Greece. http://www.isca-speech.org/archive/eurospeech_1997/e97_1895.html.

McHugh, M. L. (2012). Interrater reliability: the kappa statistic. Biochemia Medica, 22(3), 276–282. http://www.ncbi.nlm.nih.gov/pmc/articles/PMC3900052/.

Michel, M., Joy, D., Fiscus, J. G., Manohar, V., Ajot, J., & Barr, B. (2017). Framework for Detection Evaluation (F4DE). Retrieved May 16, 2017, from https://github.com/usnistgov/F4DE.

Natus Medical. (2018). Nicolet® NicVue Connectivity Solution. August 13, 2018. Retrieved from https://neuro.natus.com/products-services/nicolet-nicvue-connectivity-solution.

Nihon Kohden Corporation. July 1, 2020. Retrieved from https://us.nihonkohden.com/products/eeg-1200.

Obeid, I., & Picone, J. (2016). The Temple University Hospital EEG Data Corpus. In M. A. Lebedev (Ed.), Augmentation of Brain Function: Facts, Fiction and Controversy. Volume I: Brain-Machine Interfaces (1st ed., Vol. 10, pp. 394–398). Lausanne, Switzerland: Frontiers Media S.A. https://doi.org/10.3389/fnins.2016.00196.

Ochal, D., Rahman, S., Ferrell, S., Elseify, T., Obeid, I., & Picone, J. (2020). The Temple University Hospital EEG Corpus: Annotation Guidelines. https://www.isip.piconepress.com/publications/reports/2020/tuh_eeg/annotations/.

Orosco, L., Correa, A. G., Diez, P., & Laciar, E. (2016). Patient non-specific algorithm for seizures detection in scalp EEG. Computers in Biology and Medicine, 71, 128-134. https://doi.org/10.1016/j.compbiomed.2016.02.016.

Pathirana, S., Asirvatham, D., & Johar, G. (2018). A Critical Evaluation on Low-Cost Consumer-Grade Electroencephalographic Devices. In 2018 2nd International Conference on BioSignal Analysis, Processing and Systems (ICBAPS) (pp. 160-165). https://doi.org/10.1109/ICBAPS.2018.8527413.

Persyst Development Corporation (2020). Seizure Detection: P14 Seizure Detection is shifting the curve. Retrieved June 18, 2020, from https://www.persyst.com/technology/seizure-detection/.

Persyst Development Corporation. (2017). Seizure Detection (P13 rev. B). Retrieved January 1, 2017, from https://www.persyst.com/ technology/seizure-detection/.

Picone, J. (1990). Continuous Speech Recognition Using Hidden Markov Models. IEEE Acoustics, Speech, and Signal Processing Society (ASSP), 7(3), 26–41. https://doi.org/10.1109/53.54527.

Picone, J., Obeid, I., & Harabagiu, S. (2018). Automated Cohort Retrieval from EEG Medical Records. 26th Conference on Intelligent Systems for Molecular Biology, 1-7. https://www.isip.piconepress.com/publications/conference_presentations/2018/ismb/cohort_retrieval/.

Povey, D., Ghoshal, A., Boulianne, G., Burget, L., Glembek, O., Goel, N., … Vesely, K. (2011). The Kaldi Speech Recognition Toolkit. Proceedings of the IEEE 2011 Workshop on Automatic Speech Recognition and Understanding, 1–4. Retrieved from http://www.researchgate.net/publication/228828379_The_Kaldi_speech_recognition_toolkit/file/79e4150743dc6ce65c.pdf.

Ronner, H. E. E., Ponten, S. C. C., Stam, C. J. J., & Uitdehaag, B. M. J. M. J. (2009). Inter-observer variability of the EEG diagnosis of seizures in comatose patients. Seizure, 18(4), 257–263. https://doi.org/10.1016/j.seizure.2008.10.010.

Roy, S., Asif, U., Tang, J., & Harrer, S. (2019). Machine Learning for Seizure Type Classification: Setting the benchmark. ArXiv, 1–5. https://arxiv.org/abs/1902.01012.

Asif, U., Roy, S., Tang, J., & Harrer, S. (2020). SeizureNet: Multi-Spectral Deep Feature Learning for Seizure Type Classification. ArXiv. Retrieved from https://arxiv.org/abs/1903.03232.

Scher, M. S. (2017). Pediatric Neurophysiologic Evaluation. In K. Swaiman, S. Ashwal, D. Ferriero, N. Schor, R. Finkel, A. Gropman, … M. Shevell (Eds.), Swaiman’s Pediatric Neurology (sixth edition) (6th ed., pp. 1309–1403). China: Elsevier. https://doi.org/10.1016/B978-0-323-37101-8.00013-8.

Scheuer, L, M., & Wilson, B, S. (2004). Data Analysis for Continuous EEG Monitoring in the ICU: Seeing the Forest and the Trees. Journal of Clinical Neurophysiology, 21(5), 353–378. https://doi.org/10.1097/01.WNP.0000147078.82085.D3.

Scheuer, M. L., Wilson, S. B., Antony, A., Ghearing, G., Urban, A., & Bagic, A. I. (2020). Seizure Detection: Interreader Agreement and Detection Algorithm Assessments Using a Large Dataset. Journal of Clinical Neurophysiology. https://journals.lww.com/clinicalneurophys/Fulltext/9000/Seizure_Detection__Interreader_Agreement_and.99407.aspx. (in publication).

Shah, V., von Weltin, E., Ahsan, T., Obeid, I., & Picone, J. (2020). On the Use of Non-Experts for Generation of High-Quality Annotations of Seizure Events. Journal of Clinical Neurophysiology. https://www.isip.piconepress.com/publications/unpublished/journals/2019/elsevier_cn/ira/.

Shah, V., von Weltin, E., Lopez, S., McHugh, J. R., Veloso, L., Golmohammadi, M., … Picone, J. (2018). The Temple University Hospital Seizure Detection Corpus. Frontiers in Neuroinformatics, 12, 1–6. https://doi.org/10.3389/fninf.2018.00083.

Shoeb, A. H., & Guttag, J. V. (2010). Application of machine learning to epileptic seizure detection. Proceedings of the International Conference on Machine Learning (ICML), 975–982. https://doi.org/10.1016/j.jneumeth.2010.05.020.

Shoeb, A., Kharbouch, A., Soegaard, J., Schachter, S., & Guttag, J. (2011). An algorithm for detecting seizure termination in scalp EEG. In Annual International Conference of the IEEE Engineering in Medicine and Biology Society (pp. 1443–1446). https://doi.org/10.1109/IEMBS.2011.6090357.

Sivaraju, Adithya, J., & Gilmore, Emily, J. (2016). Understanding and Managing the Ictal-Interictal Continuum in Neurocritical Care. Current Treatment Options in Neurology, 18(2), 1–13. https://doi.org/10.1007/s11940-015-0391-0.

Stafstrom, C. E., & Carmant, L. (2015). Seizures and epilepsy: an overview for neuroscientists. Cold Spring Harbor Perspectives in Medicine, 5(6): a022426. https://doi.org/10.1101/cshperspect.a022426.

Stefan, H., & William Theodore. (2012). Epilepsy, Part II, Treatment, Volume 108. In H. Stefan & T. William (Eds.) (p. 608). https://www.elsevier.com/books/epilepsy-part-ii-treatment/stefan/978-0-444-52899-5.

Sutskever, I., Martens, J., Dahl, G., & Hinton, G. (2013). On the Importance of Initialization and Momentum in Deep Learning. In Proceedings of the International Conference on Machine Learning (ICML) (pp. 1139–1147). http://proceedings.mlr.press/v28/sutskever13.html.

Swisher, C. B., White, C. R., Mace, B. E., & Dombrowski, K. E. (2015). Diagnostic Accuracy of Electrographic Seizure Detection by Neurophysiologists and Non-Neurophysiologists in the Adult ICU Using a Panel of Quantitative EEG Trends. Journal of Clinical Neurophysiology, 32(4), 324–330. https://doi.org/10.1097/WNP.0000000000000144.

Szaflarski, J. P., Gloss, D., Binder, J. R., Gaillard, W. D., Golby, A. J., Holland, S. K., … Theodore, W. H. (2017). Practice guideline summary: Use of fMRI in the presurgical evaluation of patients with epilepsy. Neurology, 88(4), 395–402. https://doi.org/10.1212/WNL.0000000000003532.

Tatum, W. (2014). Handbook of EEG Interpretation. (W. Tatum, A. M. Husain, S. R. Benbadis, & P. W. Kaplan, Eds.) (2nd ed.). New York City, New York, USA: Demos Medical Publishing. Retrieved from https://books.google.com/books/about/Handbook_of_EEG_Interpretation_Second_Ed.html?id=BLsiAwAAQBAJ.

Uhrig, J., Schneider, N., Schneider, L., Franke, U., Brox, T., & Geiger, A. (2017). Sparsity Invariant CNNs. In arXiv. Retrieved from https://arxiv.org/abs/1708.06500.

University of Freiburg. (2020). Seizure Prediction Project Freiburg. Retrieved July 1, 2020, from https://epilepsy.uni-freiburg.de/freiburg-seizure-prediction-project/eeg-database.

Vesely´, K., Ghoshal, A., Burget, L., & Povey, D. (2013). Sequence-discriminative training of deep neural networks. In INTERSPEECH (pp. 2345–2349). Lyon, France. https://www.danielpovey.com/files/2013_interspeech_dnn.pdf.

von Goethem, P., & Hambling, B. (2013). User Acceptance Testing: A step-by-step guide. (P. van Goethem, Ed.), User Acceptance Testing. Swindon, United Kingdom: BCS Learning & Development Limited. Retrieved from https://www.oreilly.com/library/view/user-acceptance-testing/9781780171678/.

von Weltin, E., Ahsan, T., Shah, V., Jamshed, D., Golmohammadi, M., Obeid, I., & Picone, J. (2017). Electroencephalographic Slowing: A Primary Source of Error in Automatic Seizure Detection. In I. Obeid & J. Picone (Eds.), Proceedings of the IEEE Signal Processing in Medicine and Biology Symposium (pp. 1–5). Philadelphia, Pennsylvania, USA: IEEE. https://doi.org/10.1109/SPMB.2017.8257018.

Wegmann, S., Faria, A., Janin, A., Riedhammer, K., & Morgan, N. (2013). The TAO of ATWV: Probing the mysteries of keyword search performance. In Proceedings of the IEEE Workshop on Automatic Speech Recognition and Understanding (ASRU) (pp. 192–197). Olomouc, Czech Republic: IEEE. https://doi.org/10.1109/ASRU.2013.6707728.

Wilson, S. B., Scheuer, M. L., Plummer, C., Young, B., & Pacia, S. (2003). Seizure detection: Correlation of human experts. Clinical Neurophysiology, 114(11), 2156–2164. https://doi.org/10.1016/S1388-2457(03)00212-8.

Xu, M., Duan, L.-Y., Cai, J., Chia, L.-T., Xu, C., & Tian, Q. (2004). HMM-Based Audio Keyword Generation. In Advances in Multimedia Information Processing – PCM 2004: 5th Pacific Rim Conference on Multimedia (pp. 566–574). Retrieved from https://web.archive.org/web/20070510193153/.

Ye, Y., Xun, G., Ma, F., Suo, Q., Xue, H., Jia, K., & Zhang, A. (2018). A novel channel-aware attention framework for multi-channel EEG seizure detection via multi-view deep learning. In 2018 IEEE EMBS International Conference on Biomedical & Health Informatics (BHI) (pp. 206–209). https://doi.org/10.1109/BHI.2018.8333405.

Yuan, G.-Q., Gao, D.-D., Jun Lin, S. H., & Lv, B.-C. (2013). Treatment of recurrent epileptic seizures in patients with neurological disorders. Experimental and Therapeutic Medicine, 5(1), 267–270. https://doi.org/10.3892/etm.2012.788.